## Approved Schedule 02-2025
ANNUAL MAINTENACE SCHEDULE OF POWER TRANSFORMERS FOR THE MONTH OF 02-2025 UNDER SS&TL DIVISION IESCO ISLAMABAD
S. # | DISCO | Circle | Division | Sub Division | Name of Grid Station / Name of Equipment | Name of Feeder | Feeder Code | Sub Division Operation | Date | Time |  | Purpose of Shut Down | Affected Area | Remarks
[10 empty] | From | To
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
1 | IESCO | GSO Circle | SS&TL ISD | R.E Rawal | 132KV GSS Bharakaho Power Transformer T-1 (20/26 MVA) | Following 11KV Feeders willl be affected |  |  | 01-02-2025 | 8:00 | 13:00 | Annual Maintenance & Protection Testing of Power Transformer, Transformer Bays & 11 KV System
[6 empty] | Khayaban-e-Iqbal | 122505 | F-6 |  |  |  |  | Khayaban-e-Iqbal
[6 empty] | Punjab House | 122506 | F-6 |  |  |  |  | Punjab House
[6 empty] | Imran khan | 122509 | G-6 |  |  |  |  | Imran khan
[6 empty] | Pirsohawa | 122503 | Barakaho rural |  |  |  |  | Pirsohawa
2 | IESCO | GSO Circle | SS&TL ISD | AET-No.II | 20/26MVA power Transformer T3 at 132KV GSS G-13 | Following 11KV Feeders willl be affected |  |  | 02-02-2025 | 8:00 | 13:00
[6 empty] | Mera Jafar | 106710 | G-11 |  |  |  |  | Mera Jafar
[6 empty] | G-14/2 | 106711 | G-11 |  |  |  |  | G-14/2
[6 empty] | G-14/4 Residentail | 106712 | G-11 |  |  |  |  | G-14/4 Residentail
3 |  | GSO Circle IESCO Islamabad | SS&TL Division IESCO Islamabad | AE(T) No.2 | 20/26MVA Power Transformer T-3 At 132KV GSS E-8 | Following 11kv feedeers will be affected |  |  | 02-02-2025 | 14:00 Hrs | 16:00 Hrs | For coupling of 11Kv O/G Panel for PNS Hafeez Hospital
[6 empty] | F-8/2 | 75519 | F-8 |  |  |  |  | F-8/2
[6 empty] | F-8 | 75518 | F-8 |  |  |  |  | F-8
[6 empty] | Citize Club | 75521 | F-8 |  |  |  |  | Citize Club
[6 empty] | PAF-2 | 75520 | F-8 |  |  |  |  | PAF-2
[6 empty] | Bahira University | 75523 | F-8 |  |  |  |  | Bahira University
[6 empty] | PAF Hospital | 75522 | F-8 |  |  |  |  | PAF Hospital
4 | IESCO | GSO Circle IESCO Islamabad | SS&TL ISD | AET-No.1 | 132KV GSS H-11 Power Transformer T-2 (31.5/40MVA) | Following 11kv feedeers will be affected |  |  | 03-02-2025 | 8:00 | 13:00 | Annual Maintenance & Protection Testing of Power Transformer, Transformer Bays & 11 KV System
[6 empty] | G-10 MKZ | 72720 | G-9 |  |  |  |  | G-10 MKZ
[6 empty] | G-10/1 | 72703 | G-9 |  |  |  |  | G-10/1 Sector
[6 empty] | Islamic Uni | 72710 | I-10 |  |  |  |  | Islamic Univiersity
[6 empty] | H-11/4 | 72738 | [5 empty] | H-11/4
[6 empty] | G-10/4 | 72707 | G-9 |  |  |  |  | G-10/4 Secotr
[6 empty] | G-10/2 , Captain Taimoor | 72711 | G-9 |  |  |  |  | G-10/2 Sector
[6 empty] | NDC-1 | 72712 | I-10 |  |  |  |  | NDC-1 Lab
[6 empty] | PHA-1 | 72713 | G-11 |  |  |  |  | PHA flats I& 2
[6 empty] | Eid Gah | 72714 | Asgher Mal |  |  |  |  | Eid Gah Mohallah, Mohallah Raja Sultan, Imam Bara Mohallah and surrounding areas.
[6 empty] | Dhoke Najo | 72715 | Khiyban sir Syed |  |  |  |  | Dk Najoo, K.B.Sir Syed, Sector & 4 A, Qasim Market.
[6 empty] | Raja Sultan | 72716 | F-Block |  |  |  |  | Moh.Raja Sultan,Saidpur Scheme No 1, E.Block And Surrounding Area
[6 empty] | SES | 72731 | G-9 |  |  |  |  | I-9 Consumer feeder
[6 empty] | AQ Khan | 72732 | I-10 |  |  |  |  | AQ khan labs
[6 empty] | U-Phone | 72733 | G-9 |  |  |  |  | U-Phone Office
[6 empty] | Safe City-1 | 72734 | I-10 |  |  |  |  | Safe city -1
5 | IESCO | GSO Circle | SS&TL ISD | AET-No.1 | 132KV GSS Kahta City Power Transformer T-2 (20/26 MVA) | Following 11KV Feeders willl be affected |  |  | 04-02-2025 | 10:00 | 17:00
[6 empty] | Khawaja | 9004 | Kallar Syedan |  |  |  |  | Dk Ellahi Bux, Chanam, Blakhar, Loona, Sadiot
[6 empty] | Nara mator | 9002 | Nara Mator |  |  |  |  | Mohallah Grid Station Battla , Mohrwara, Asloha, Mermyan, Nara Matore.
[6 empty] | Kahuta city | 9001 | Kahuta |  |  |  |  | Kahuta City, Nathot, Tirkhian, Naral Sangoot, Ari Syed , Chak
[6 empty] | Panjar | 9010 | Nara Mator |  |  |  |  | Kotli Road Kahuta, Toaiali, Baroota, Jandi
[6 empty] | Kahuta City-2 | 9011 | Kahuta |  |  |  |  | Kahua city Ari Seidan ,Thrikhian, Nathoot
6 | IESCO | GSO | SS&TL ISD | RE Zero point | Power Transformer T-1 (31.5/40MVA ) At 132KV GSS Zero Point | Following 11KV Feeders willl be affected |  |  | 06-02-2025 | 08:00 | 13:00 | Annual Maintenance & Protection Testing of Power Transformer, Transformer Bays & 11 KV System
[6 empty] | G-8 | 22326 | G-7 |  |  |  |  | T&T Colony, G-8/2, Tipu Market
[6 empty] | vip | 22320 | F-6 |  |  |  |  | Exempted (Standby source for VIPs)
[6 empty] | Marvi | 22317 | G-7 |  |  |  |  | G-7/4, G-7/2, Sitra Mkt G-7/1
[6 empty] | Iqbal Town | 22314 | G-6 |  |  |  |  | vill:Sohan. Raja Imran
[6 empty] | Sitra Mkt | 22301 | G-7 |  |  |  |  | Sitra Mkt, G-7/1 ,G-7/2 & G-7/4
[6 empty] | High Way | 22315 | Khana Dak |  |  |  |  | New Shakrail , Khanna Dak, Sch-II, Tarlai Khurd
[6 empty] | Faisal Masjid | 22310 | F-8 |  |  |  |  | PORTION OF F-8/4, F-8/1 & F-8/3
[6 empty] | HC-2 | 22309 | F-8 |  |  |  |  | Hospital Complex
[6 empty] | G-8 MKZ | 22338 | G-7 |  |  |  |  | SECTOR G-8/3
[6 empty] | Ayub MKT | 22318 | F-8 |  |  |  |  | AYUB MKT. PORTION OF F-8/1, F-8/3 & F-8/4
[6 empty] | NPCC | 22323 | I-9 |  |  |  |  | NPCC (INDEPENDENT)
[6 empty] | Shifa | 22341 | I-9 |  |  |  |  | Shifa hospital independent
[6 empty] | H-8 Colony | 22339 | I-9 |  |  |  |  | Grid Colony
7 | IESCO | GSO | SS&TL ISD | RE Zero point | Power Transformer T-2 (31.5/40MVA ) At 132KV GSS Zero Point | Following 11KV Feeders willl be affected |  |  | 08-02-2025 | 08:00 | 13:00 | 11KV Buscoupler overhauling
[6 empty] | Aziz Chowk | 22324 | F-8 |  |  |  |  | F-10/1 & F-10/4
[6 empty] | H-8 | 22325 | I-9 |  |  |  |  | FBISE, NIBAF, CITY SCHOOL
[6 empty] | Tarlai | 22333 | I-9 |  |  |  |  | Tarlai and surrounding areas
[6 empty] | F-7 | 2236 | F-6 |  |  |  |  | Blue Area (Fazal-e-Haq Rd Razia Sh Plaza to Khabar Plaza)
[6 empty] | ADBP | 22305 | G-7 |  |  |  |  | Independent
[6 empty] | Wapda Colony | 22304 | G-7 |  |  |  |  | G-7/1 & G-7/4, Newspaper press
[6 empty] | Aabpara | 22303 | G-6 |  |  |  |  | Sector G-6/1-1 & Aabpara Mkt, Newspaper Press
[6 empty] | CDA | 22302 | G-7 |  |  |  |  | Portion opf sector G-7/4
8 | IESCO | GSO Circle | SS&TL ISD | RE-Zero Point | Power Transformer T-3 (31.5/40 MVA) at 132KV GSS Zero Point | Following 11KV Feeders willl be affected |  |  | 09-02-2025 | 08:00 | 13:00 | Annual Maintenance & Protection Testing of Power Transformer, Transformer Bays & 11 KV System
[6 empty] | HC-1 | 22322 | F-8 |  |  |  |  | Hospital PIMS
[6 empty] | G-9 Express | 22334 | G-9 |  |  |  |  | Portion of G-9/3 Sector
[6 empty] | G-9/2 | 22327 | G-9 |  |  |  |  | G-9/2
[6 empty] | G-9 Markaz | 22332 | G-9 |  |  |  |  | G-9 Markaz
[6 empty] | AIOU | 22335 | I-9 |  |  |  |  | Independent Univerity
[6 empty] | G-8/1 | 22330 | g-7 |  |  |  |  | G-8/1, Passport Office
[6 empty] | PTCL | 22331 | G-7 |  |  |  |  | PTCL Independent
[6 empty] | Zia Masjid | 22342 | Khana Dak |  |  |  |  | Tarali & khan bazar
[6 empty] | G-9/3 | 22321 | G-9 |  |  |  |  | Sector G-9/3, FIA Head Quarter
[6 empty] | T&T | 22319 | G-7 |  |  |  |  | G-8/4, T&T Colony, I&T Center, G-8/2, G-8/M, News paper Press
[6 empty] | I-8/2 | 22336 | I-9 |  |  |  |  | Sector I-8/2
[6 empty] | I-8/3 | 22337 | I-9 |  |  |  |  | Sector I-8/2
[6 empty] | G-9/4 | 22340 | G-9 |  |  |  |  | G-10/1
9 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.2 | Power Transformer T-2 (20/26 MVA) At 132KV GSS Kallar Syedan | Following 11KV Feeders willl be affected |  |  | 10-02-2025 | 10:00 | 17:00
[6 empty] | Kambli Sadiq | 98102 | Kallar |  |  |  |  | Kambli Sadiq
[6 empty] | Kallar City | 98104 | Kallar |  |  |  |  | Kallar City
[6 empty] | Duberan | 98106 | Kallar |  |  |  |  | Duberan
[6 empty] | Mal Awan | 98108 | Bewal |  |  |  |  | Mal Awan
10 | IESCO | GSO Circle | SS&TL ISD | AE(T) Rawalakot | Power Transformer T-3 (20/26 MVA) at 132KV GSS Rawalakot | Following 11KV Feeders willl be affected |  |  | 12-02-2025 | 11:00 | 16:00 | Annual Maintenance & Protection Testing of Power Transformer, Transformer Bays & 11 KV System
[6 empty] | Rawalakot | 48401 | Khai Gala |  |  |  |  | Bulk Supply
[6 empty] | Mang | 48403 | Thorar |  |  |  |  | Bulk Supply
[6 empty] | PWD | 48409 | rawalakot |  |  |  |  | Bulk Supply
[6 empty] | Paniola | 48402 | paniola |  |  |  |  | Bulk Supply
[6 empty] | Shuja abad | 48405 | rawalakot |  |  |  |  | Bulk Supply
11 | IESCO | GSO Circle | SS&TL ISD | AE(T) Rawalakot | 33KV Power Transformer T-1 (10/13MVA) at 132KV GSS Rawlakot | Following 11KV Feeders willl be affected |  |  | 13-02-2025 | 09:00 | 12:00
[6 empty] | MONG CITY | 94501 | Rawalakot |  |  |  |  | Bulk Supply
[6 empty] | MONG PATTAN SHER KHAN | 94502 | Rawalakot |  |  |  |  | Bulk Supply
[6 empty] | MONG KANCHAN | 94503 | Rawalakot |  |  |  |  | Bulk Supply
| IESCO | GSO Circle | SS&TL ISD | AE(T) Rawalakot | Power Transformer T-2 (20/26 MVA) at 132KV GSS Rawalakot | Following 11KV Feeders willl be affected |  |  | 13-02-2025 | 12:00 | 16:00
[6 empty] | Rawalakot-2 | 48406 | rawalakot |  |  |  |  | Bulk Supply
[6 empty] | KhaiGala | 48407 | Khai Gala |  |  |  |  | Bulk Supply
[6 empty] | CMH 1 | 48404 | rawalakot |  |  |  |  | Bulk Supply
[6 empty] | CMH 2 | 48408 | rawalakot |  |  |  |  | Bulk Supply
[6 empty] | City-3 | 48410 | rawalakot |  |  |  |  | Bulk Supply
[6 empty] | Paniola Express | 48411 | paniola |  |  |  |  | Bulk Supply
12 | IESCO | GSO Circle | SS&TL ISD | RE Rawal | 132KV GSS Bharakaho Power Transformer T-2 (20/26 MVA) | Following 11KV Feeders willl be affected |  |  | 15-02-2025 | 8:00 | 13:00
[6 empty] | Mangial | 122508 | Barakaho rural |  |  |  |  | Mangial
[6 empty] | Q-A-University | 122502 | Barakaho rural |  |  |  |  | Q-A-University
[6 empty] | A.Q Khan | 122504 | Barakaho Urban |  |  |  |  | A.Q Khan
[6 empty] | Treat | 122501 | Barakaho rural |  |  |  |  | Treat
[6 empty] | Bani Gala | 122507 | G-6 |  |  |  |  | Bani Gala
13 | IESCO | GSO | SS&TL ISD | AE(T) No.I | Power Transformer T-2 (20/260 MVA ) At 132KV GSS Gangal | Following 11KV Feeders willl be affected |  |  | 16-02-2025 | 08:00 | 13:00 | Annual Maintenance & Protection Testing of Power Transformer, Transformer Bays & 11 KV System
[6 empty] | Sawan Garden-1 | 110902 | Korang |  |  |  |  | Sawan Garden-1
[6 empty] | Sawan Garden-2 | 110903 | Korang |  |  |  |  | Sawan Garden-2
[6 empty] | River Garden | 110904 | Korang |  |  |  |  | River Garden
14 | IESCO | GSO Circle | SS&TL ISD | AE(T)No.I | Power Transformer T-4 (31.5/40 MVA) At 132KV GSS Satellite Town | Following 11KV Feeders willl be affected |  |  | 18-02-2025 | 08:00 | 13:00
[6 empty] | Shama abad | 95820 | Chandni chowk |  |  |  |  | Shamas Abad, Survey of Pakistan, Murree Rd
[6 empty] | National Mkt | 95822 | Chandni chowk |  |  |  |  | National Market, Asghar Mall, Asghar Mall Scheme & Surrounding area.
[6 empty] | Ghousia Colony | 95824 | F-Block |  |  |  |  | PTCL
[6 empty] | PTCL | 95823 | F-Block |  |  |  |  | PTCL Head office S/Town
[6 empty] | Haidry chowk | 95830 | F-Block |  |  |  |  | Independent
[6 empty] | Urology Center | 95829 | Chandni chowk |  |  |  |  | Urology Center
[6 empty] | Tariq Shaheed | 95826 | dhok kala khan |  |  |  |  | Tariq Shaheed
15 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.2 | Power Transformer T-3 (20/26 MVA ) At 132KV GSS E-8 | Following 11KV Feeders willl be affected |  |  | 22-02-2025 | 08:00 | 13:00
[6 empty] | F-8/2 | 75519 | F-8 |  |  |  |  | F-8/2
[6 empty] | F-8 | 75518 | F-8 |  |  |  |  | F-8
[6 empty] | Citize Club | 75521 | F-8 |  |  |  |  | Citize Club
[6 empty] | PAF-2 | 75520 | F-8 |  |  |  |  | PAF-2
[6 empty] | Bahira University | 75523 | F-8 |  |  |  |  | Bahira University
[6 empty] | PAF Hospital | 75522 | F-8 |  |  |  |  | PAF Hospital
16 | IESCO | GSO Circle | SS&TL ISD | AET-No.II | 132KV GSS G-13 Power Transformer T-2 & 3 (20/26 MVA) | Following 11KV Feeders willl be affected |  |  | 23-02-2025 | 8:00 | 13:00 | Annual Maintenance & Protection Testing of Power Transformer, Transformer Bays & 11 KV System
[6 empty] | G-13/2 | 106701 | G-11 |  |  |  |  | Sector G-13/2
[6 empty] | G-13/3 | 106702 | G-11 |  |  |  |  | Sector G-13/3
[6 empty] | G-13/1 | 106703 | G-11 |  |  |  |  | Sector G-13/1
[6 empty] | G-13/4 | 106704 | G-11 |  |  |  |  | Sector G-13/4
[6 empty] | G-13/2-1 | 106705 | G-11 |  |  |  |  | Sector G-13/2-1
17 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.I | Power Transformer T-3 (20/26 MVA) at 132KV GSS F-11 | Following 11KV Feeders willl be affected |  |  | 25-02-2025 | 08:00 | 13:00
[6 empty] | Pir Mehr Ali Shah | 69227 | ` |  |  |  |  | Golra city and srounding
[6 empty] | Dargha | 69219 | F-11 |  |  |  |  | Golra City
[6 empty] | E-11/2 | 69223 | F-11 |  |  |  |  | feed through E-11/2 ( D-12 GSS)
[6 empty] | Capital Residentia | 69226 | F-11 |  |  |  |  | Capital Residentia flats
[6 empty] | SPD | 69228 | F-11 |  |  |  |  | independent
[6 empty] | D.C.I | 69229 | F-8 |  |  |  |  | independent
[6 empty] | NPF-II | 69230 | [5 empty] | NPF-II
18 | IESCO | GSO Circle | SS&TL ISD | AE(T) Rawalakot | Power Transformer T-2 (10/13 MVA) at 132KV GSS Plandri | Following 11KV Feeders willl be affected |  |  | 26-02-2025 | 11:00 | 16:00 | Annaul Maintenance & buscoupler overhauling
[6 empty] | Plandri City | 45502 | Plandri |  |  |  |  | Bulck Supply
[6 empty] | Plandri City-2 | 48506 | Plandri |  |  |  |  | Bulk Supply
[6 empty] | Naliyan | 48508 | Plandri |  |  |  |  | Bulck Supply
19 | IESCO | GSO Circle | SS&TL ISD | AE(T) Rawalakot | Power Transformer T-1 (04 MVA) at 33KV GSS Mong | Following 11KV Feeders willl be affected |  |  | 27-02-2025 | 9:00 | 12:00 | Annual Maintenance & Protection Testing of Power Transformer, Transformer Bays & 11 KV System
[6 empty] | Mong | 94501 | Rawalakot |  |  |  |  | Bulck Supply
[6 empty] | Kanchari | 94503 | Rawalakot |  |  |  |  | Bulck Supply
| IESCO | GSO Circle | SS&TL ISD | AE(T) Rawalakot | Power Transformer T-2 (04 MVA) at 33KV GSS Mong | Following 11KV Feeders willl be affected |  |  | 27-02-2025 | 12:00 | 16:00
[6 empty] | Patan shair khan | 94502 | Rawalakot |  |  |  |  | Bulck Supply
ANNUAL MAINTENACE SCHEDULE OF POWER TRANSFORMERS FOR THE MONTH OF 02-2025 UNDER SS&TL DIVISION IESCO RAWALPINDI
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | R.E Sub Division IESCO Chaklala | 132 KV GSS Chaklala (T-3) (31.5/40 MVA) | Following 11KV O/G feeders will be affected |  |  | 02-02-2025 | 08:00 h | 13:00 h | Annual maintenance & protection testing of power transformer, transformer bays & 11 KV system
[6 empty] | Jahangir Road | 002505 | Civil Line |  |  |  |  | Jhangir Road, Dh Chirgah Din, Railway Scheme -III & Iv,Supreme Court, & Sir Syed Cly.
[6 empty] | M.S.F | 002504 | Jhanda |  |  |  |  | Multy Storey Flats & Askari 1-5
[6 empty] | Rahimabad | 002541 | Chaklala |  |  |  |  | Chaklala Scheme -I, Rahim Abad, Dk, Kashmiyaran
[6 empty] | Khanna Road | 002517 | Gangal |  |  |  |  | Dk Gangal, Dk Shar Zaman KRL Road,AL-Noor Cly. & Babar Cly.
[6 empty] | C.N.C | 002524 | Jhanda |  |  |  |  | Chief Arny Staff House.
[6 empty] | SPD-2 | 002529 | Chaklala |  |  |  |  | SPD Consultancy Directorate & Security Division
[6 empty] | Gulistan Colony | 002523 | Jhanda |  |  |  |  | Gulistan Cly Lane No.2 to 5.
[6 empty] | Topi Pump | 002515 | [5 empty] | Army House, Topi Pump Station.
[6 empty] | APHS | 2526 | Gangal |  |  |  |  | Aiport Society Dk Anwar And Surrounding Area.
2 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | R.E Sub Division IESCO Chaklala | 132 KV GSS Chaklala (T-4) (31.5/40 MVA) | Following 11KV O/G feeders will be affected |  |  | 02-02-2025 | 11:00 h | 13:00 h | For cleanng of Bus Coupler
[6 empty] | RIC | 2534 | Civil Line |  |  |  |  | Rawalpindi Cordiology Hospital
[6 empty] | Benazir Bhutto | 2531 | Chandni Chowk |  |  |  |  | Rawalpindi General Hospital
[6 empty] | Chaklala Garisson | 2537 | Chaklala |  |  |  |  | 10-Corp, PAFWA, 501 Workshop, Desto Lab, DG ISI, General Rresidency.
[6 empty] | Gangal | 2512 | Gangal |  |  |  |  | Gulzar-e-Quaid, Shah Khalid Cly. Dk Anwar Majistrate Cly & Surrounding Area.
[6 empty] | Makkah Chowk | 002535 | Chaklala |  |  |  |  | Makkah Chowk & surroundings
[6 empty] | Sector-4 | 002536 | Gangal |  |  |  |  | Sector-4
[6 empty] | Humayun Road | 2525 | Tariqabad |  |  |  |  | Humayoun Road, Askari-13, & 14, Askari-7 Dk.Nawaz.
[6 empty] | Rehmatabad-2 | 002530 | Chaklala |  |  |  |  | Al-Mumtaz Cly, Dk. Kala Khan, Banaris Cly, New Air Port Housing Society, Mazhar Abad
[6 empty] | Rawalpindi-3 | 2510 | Civil Line |  |  |  |  | Fatima Jinnah University, IESCO Complex, District Court, DCO office, Incom Tax Office, SSP office , Punjab House.
3 |  |  |  | A.E (T) Sub Division Rawalpindi | 20/26MVA Power Transformer T-1 at 132 KV GSS Sowan |  |  |  | 04-02-2025 To 18-02-2025 | 04-02-2025 09:00 Hrs | 18-02-2025 17:00 Hrs | For De-Hydration of Transformer Oil | No area will be affected as load of Power Transformer T-1 will be shifted to Power Transformer T-2 through Bus Coupler.
4 |  |  |  |  | 31.5/40MVA Power Transformer T-1 at 132KV GSS Bahria Town Phase-4 |  |  |  | 15-02-2025 | 08:30 Hrs | 16:30 Hrs | Annual Maintenance & protection testing of power transformer, transformer bays & 11 KV system also cleaning of Bus Coupler | 132KV GSS Bahria Town Phase-4 (Consumer GSS) will be affected.
20/26MVA Power Transformer T-2 at 132KV GSS Bahria Town Phase-4
5 |  |  |  |  | 31.5/40MVA Power Transformer T-3 at 132KV GSS Bahria Town Phase-8 |  |  |  | 18-02-2025 | 08:30 Hrs | 16:30 Hrs |  | 132KV GSS Bahria Town Phase-8 (Consumer GSS) will be affected.
20/26MVA Power Transformer T-4 at 132KV GSS Bahria Town Phase-8
ANNUAL MAINTENACE SCHEDULE OF POWER TRANSFORMERS FOR THE MONTH OF 02-2025 UNDER SS&TL DIVISION IESCO RAJJAR
1 | IESCO | GSO Islamabad | SS&TL Rajjar | Jhelum | 132 KV JHELUM 31.5/40 MVA Power Transformer T-4 | (F-13) Garmala | 007713 | Cantt Jhelum | 04-02-2025 | 9:00 | 16:00 | For Annual Maintenance & Protection Testing of 11kv Buscoupler. | Garmala
[6 empty] | CMH Jhelum | 007723 | Cantt Jhelum |  |  |  |  | Cmh Jhelum
[6 empty] | Sanaulllah Shaheed (F-11) | 007711 | [5 empty] | Rohtas Road ,Rasheeda Abad, Hassan Aabad,Sabzi Mandi
[6 empty] | Pakhwal | 007720 | [5 empty] | Pakwal
[6 empty] | Borian | 007726 | [5 empty] | Borian
[6 empty] | Abbas Pura | 007727 | Urban Jhelum |  |  |  |  | Abbas Pura
2 | IESCO | GSO Islamabad | SS&TL Rajjar | Jhelum | 132KV Gujjar Khan 20/26 MVA Power Transformer T-1 | Gujjar Khan | 004901 | G/Khan | 06-02-2025 | 9:00 | 16:00 | For Annual Maintenance & Protection Testing of 11kv Buscoupler. | G/Khan City, Sie Gujar Khan
[6 empty] | Hayat Sir Road | 004908 | G/Khan |  |  |  |  | W.No19, Shamas Colony, Hayat Sir Road, Halwai Gali
[6 empty] | E.C.M | 004903 | [5 empty] | E.C.M
[6 empty] | Islampura | 004910 | Budana |  |  |  |  | Jhand Bukhar, Kool Chowk, Tang Dew Syedan, Khan Pur Ch: Miana Phota
[6 empty] | Dora Badhal | 004925 | Mandra |  |  |  |  | Gt Road Mandra, Mandra, Rakh Morr, Changa Mera , Kamandrial, Kuri, Mohra Mandoo.
[6 empty] | Thakra | 004921 | Gulyana |  |  |  |  | Susral,Chak Rajgan,Thakra Mohra,Peer Phali.
[6 empty] | Kinger | 004923 | Budana |  |  |  |  | Mandal, Thathi, Kanger,Paleena.
3 |  |  |  |  | 132KV Baragawa 10/13 MVA Power Transformer T-2 | Padyal | 63003 | Domaily | 11-02-2025 | 9:00 | 16:00 |  | Bharoola, Phadri, Phadial
[6 empty] | SOHAN | 63001 | [5 empty] | SOHAN
[6 empty] | Domeli | 63006 | [5 empty] | Sohan,Bagwala,Domeli,Rasoolpur, Karbak, Gurahutam Singh
4 |  |  |  |  | 132KV Jhelum 31.5/40 MVA Power Transformer T-1 | Zubair Shaheed | 007717 | Cantt: Jhelum | 13-02-2025 | 9:00 | 16:00 |  | Lala Zar Col;, Shandar Chowk, Nia Bazar
[6 empty] | Civil Line | 007708 | Civil Line |  |  |  |  | Civil Line, Nia Moh: Distt:&Session, Court,
[6 empty] | F.T.M | 007701 | Urban Jhelum |  |  |  |  | Allinace Textile Mills
[6 empty] | Gul Afshan | 007703 | Cantt:Jhelum |  |  |  |  | Cantt Area, G/Afshan Colony, Saeela
[6 empty] | Langer Pur | 007725 | Cantt:Jhelum |  |  |  |  | GT Road; Upto Kashmir, COL; Thathan Gujran,Langarpur, Dk;Munawar
[6 empty] | Jada | 007705 | Urban Jhelum |  |  |  |  | Nawab Col: Jada, DHQ JM,Ramzan Pura Dk. Juma, Dk. Fardoos
[6 empty] | Machine Mohallah | 007706 | Civil Line helum |  |  |  |  | M.Moh;Gt Rd;,Makhdoomabad, Mujahidabad
5 | IESCO | GSO Islamabad | SS&TL Rajjar | Chakwal | 132KV Padshahan 20/26 MVA Power Transformer T-2 | Syed Kasran | 079106 | Mandra | 18-02-225 | 9:00 | 16:00 | For Annual Maintenance & Protection Testing of 11kv Buscoupler. | Sang Kalan, Mohra Alho, Syed, Kasran, Turkwal, Nikko.
[6 empty] | Dhoda | 079105 | Khan Pur |  |  |  |  | Dhoda, Joor, Bhubhur, Chah Mal, Dhoke Niazian, Chohan, Diwal, Chabbar Saydan, Pari Durweza, Mohra Kanyal
[6 empty] | C.T.M | 079109 | Dudial-1 |  |  |  |  | Chakwal Textile Mills (C.T.M.) - Pindi Road Chakwal.
[6 empty] | Mulhal Mughlan | 079101 | Khan Pur |  |  |  |  | Mulhal Mughlan, Padshahan, Dhrogi, Nichindi, Ghazial, Jand Khanzada.
[6 empty] | Chakwal Steel | 079112 | Dudial-1 |  |  |  |  | Chakwal Steem Mill
[6 empty] | Dharogi Rajgan | 079113 | Khan Pur |  |  |  |  | Pindi Gujran, Topay, Potochi, Jandala, Ghazial, Maswal.
[6 empty] | Latifal | 79111 | Dudial-1 |  |  |  |  | Latifal, Mogla, Canal Bala,Rawal,Zair,Kot Iqbal,Dhok Alfoo.
6 | IESCO | GSO Islamabad | SS&TL Rajjar | Mangla | 132 KV L.B. Mangla 20/26 MVA Power Transformer T-2. | MIRPUR-2 | 066902 | Chachian | 20-02-2025 | 9:00 | 16:00 | For Annual Maintenance & Protection Testing of 11kv Buscoupler. | Xen Mangla Wapda Feeder
[6 empty] | MANGLA COLONY | 066903 | Wapda Mangla |  |  |  |  | Xen Mangla Wapda Feeder
[6 empty] | BONG NO.2 | 066907 | Chachian |  |  |  |  | Xen Mangla Wapda Feeder
[6 empty] | MIRPUR-3 | 066908 | Chachian |  |  |  |  | Bulk Supply Of AJK
[6 empty] | MIRPUR-4 | 066909 | West Mirpur |  |  |  |  | Bulk Supply Of AJK
7 |  |  |  | Chakwal | 132KV C.S.Shah 20/26 MVA Power Transformer T-2 | C.S.Shah | 24601 | C.S.Shah | 24-02-2025 | 9:00 | 16:00 |  | C.S.Shah City, Minhala, .
[6 empty] | Dandot | 24604 | C.S.Shah |  |  |  |  | Ratooch, Pidh, Dandot.
ANNUAL MAINTENACE SCHEDULE OF TRANSMISSION LINES FOR THE MONTH OF 02-2025 UNDER SS&TL DIVISION IESCO ISLAMABAD
1 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.I | 132KV G-5 (ISG-1)-University ( E11Q1) T/Line |  |  |  | 02-02-2025 | 9:00 | 16:00 | Annual Maintenance of Transmission Line & Protection Testing of C/Bs | No area will be affect during this shutdown as 132KV GSS G-5 will be fed from E-8 side through (ISG-2-ISE-2)Circuit.
2 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.II | 132KV Nilore (AEC-4)-Bahria Enclave (BEN-1) T/Line |  |  |  | 03-02-2025 | 09:00 | 16:00 |  | No area will be affec as 132KV GSS Nilore will be fed from 132KV GSS Gulberg Side through (AEC5-GUB2) & Bahria will be fed from Tarmri (TRC-2-BEN-2) circuit.
3 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.II | 132KV Tarmri (TRC-2-Bahria Enclave (BEN-2) T/Line |  |  |  | 04-02-2025 | 09:00 | 16:00 |  | No area will be affec as 132KV GSS Tarmri will be fed from 220KV GSS Univeristy Side through (TRC-1-E3Q1) & Bahria will be fed from Nilore side through (AEC-4-BEN-1) circuit.
4 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.I | 132KV T/Line AEC Nilore -Kahuta KRL (KHT-1-AEC-1) |  |  |  | 06-02-2025 | 09:00 | 16:00 |  | No Area will be effect during this shutdown as 132KV GSS AEC Nilore will be fed from 132KV GSS Gangal Side through (AEC-2-GNG-2 circuit)& Kahuta KRL will be fed from 500 KV New Rawat side through (E12Q-1-KHT-2) circuit.
5 | IESCO | GSO Circle | SS&TL ISD | AE(T) Rawalakot | 33KV Rawalakot (RWK-71) Mong (ISI-71-1) T/Line. | All 11KV feeders of 33KV GSS Mong will be afffected |  |  | 6-02-2025 | 09:00 | 16:00 |  | 33KV GSS Mong will be affected.
[6 empty] | MONG CITY | 94501 | Rawalakot |  |  |  |  | Bulk Supply
[6 empty] | MONG PATTAN SHER KHAN | 94502 | Rawalakot |  |  |  |  | Bulk Supply
[6 empty] | MONG KANCHAN | 94503 | Rawalakot |  |  |  |  | Bulk Supply
6 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.2 | 132KV New Rawat(E14Q1)-DHA (ISO-2) T/Line |  |  |  | 06-02-2024 | 09:00 | 16:00 |  | No Area will be effect during this shutdown as 132KV GSS AEC DHA will be fed from 132KV GSS NPF Side through (NPF-2-ISO-1) Circuit
7 | IESCO | GSO Circle | SS&TL ISD | AE(T) Rawalakot | 132KV Kotli (KLI-2)-Trarkhal ( TRR-4) T/Line |  |  |  | 9-02-2025 | 9:00 | 16:00 |  | No area will be affect during this shutdown as 132KV GSS Kotli will be fed from Gulpur Side & Trarkhal will be fed from Plandir Side through ( TRR-6-PLD-4) Circuit
8 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.2 | 132KV New St: Town-(SAT-2)-I-8(ISM-2) T/Line |  |  |  | 10-02-2024 | 09:00 | 16:00 |  | No Area will be effect during this shutdown as 132KV GSS St: Town will be fed from MES side through (SAT-1-MES-2) & 132KV GSS I-8 will be fed from Zero Point side through (ISD-5-ISM-1)Circuit
9 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.2 | 132KV DHA (ISO-1)-NPF(NPF-2) T/Line |  |  |  | 12-02-20250 | 09:00 | 16:00 |  | No Area will be effect during this shutdown as 132KV GSS DHA will be fed from 500KV New Rawat side (E14Q1-ISO-2) & NPF will be fed from Gulberg side through (NPF-1-GUB-1) Circuit
10 | IESCO | GSO Circle | SS&TL ISD | AE(T) Rawalakot | 132KV Kahuta City(KHC-2)-Plandri(PLD-3) T/Line |  |  |  | 12-02-2025 | 09:00 | 16:00 |  | No Area will be effect during this shutdown as 132KV GSS Plandri will be fed from 132KV GSS Trarkhal side through PLD-4-TRR-6)circuit.
11 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.II | 132KV Tararkhel (TRR-5) Rawlakot (RWK-3) T/Line |  |  |  | 13-02-2025 | 09:00 | 16:00 |  | No. area will be affected. As 132KV GSS Rawlakot will be fed from Bagh side throgh RWK-4 Bag-1 Circuit
12 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.2 | 132KV Gulberg(GUB-2)Nilore(AEC-5) T/Line |  |  |  | 14-02-2025 | 09:00 | 16:00 | Annual Maintenance of Transmission Line & Protection Testing of C/Bs | No Area will be effect during this shutdown as 132KV GSS Gulberg will be fed from NPF Side through (NPF-1-GUB1) & Nilore will be fed from University Side through (AEC-3-E2Q1) Circuit
13 | IESCO | GSO Circle | SS&TL ISD | AE(T) Rawalakot | 33KV Rawalakot (RWK-71) Mong (ISI-71-1) T/Line. | All 11KV feeders of 33KV GSS Mong will be afffected |  |  | 15-02-2025 | 09:00 | 16:00
[6 empty] | MONG CITY | 94501 | Rawalakot |  |  |  |  | Bulk Supply
[6 empty] | Mong Pattan Sher Khan | 94502 | Rawalakot |  |  |  |  | Bulk Supply
[6 empty] | Mong Kanchan | 94503 | Rawalakot |  |  |  |  | Bulk Supply
14 | IESCO | GSO Circle | SS&TL ISD | AE(T) NO.I | 132KV H-11 ( ISH-2) I-10( ISI-1) T/Line |  |  |  | 16-02-2025 | 9:00 | 16:00 |  | No area will be affect during this shutdown as 132KV GSS H-11 will be fed from 132KV GSS NUST Side through NST-2 & I-10 will be fed from Zero Point Side through ISI-2-ISD-2) Circuit.
15 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.2 | 132KV Gangal (GNG-2)-Nilore(AEC-2) T/Line |  |  |  | 17-02-2025 | 09:00 | 16:00 |  | No Area will be effect during this shutdown as 132KV Gangal will be fed from DHA Valley side through (DHV-2-GNG -1) & Nilore will be fed from University side through (AEC3-E2Q1) circuit.
16 | IESCO | GSO Circle | SS&TL ISD | AE(T) Rawalakot | 132KV Kotli (KLI-2)-Trarkhal ( TRR-4) T/Line |  |  |  | 18-02-2025 | 9:00 | 16:00 |  | No area will be affect during this shutdown as 132KV GSS Kotli will be fed from Gulpur Side & Trarkhal will be fed from Plandir Side through ( TRR-6-PLD-4) Circuit
17 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.2 | 132KV Murree (MRE-2)-Chattar Kalas(CTK-1)T/Line | All 11KV feeders of will be afffect |  |  | 19-02-2025 | 09:00 | 16:00 |  | 132KV GSS Minhasa & Chattar Kalas will be affected.
[6 empty] | Chatter -2 | newly energized | [5 empty] | Chatter -2
[6 empty] | Komi Kot | newly energized | [5 empty] | Komi Kot
[6 empty] | Chatter-1 | newly energized | [5 empty] | Chatter-1
Following 11KV Feeders willl be affected
[6 empty] | Dheer Kot | 79401 | Dheer kot |  |  |  |  | Dheer Kot
[6 empty] | chaman kot | 79402 | Dheer kot |  |  |  |  | chaman kot
[6 empty] | Rangla | 79407 | Dheer kot |  |  |  |  | Rangla
[6 empty] | Dana Express | 79409 | Dhana |  |  |  |  | Dana Express
[6 empty] | DAHLA | 79411 | Jheka gali |  |  |  |  | DAHLA
[6 empty] | Minhasa Sohawa | 79406 | Dheer kot |  |  |  |  | Minhasa Sohawa
[6 empty] | Numble | 79405 | Jheka gali |  |  |  |  | Numble, Turch, Pattan, Molia
[6 empty] | Birote | 79408 | Jheka gali |  |  |  |  | Kohallah, Bakot, Basian, Berote.
[6 empty] | Ghazia Abad | 79410 | Dheer kot |  |  |  |  | Dhirkot AJK
18 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.2 | 132KV NPF (NPF-1)-Gublerg(GUB-1) T/Line |  |  |  | 21-02-2025 | 09:00 | 16:00 |  | No Area will be effect during this shutdown as 132KV Gulberg will be fed from Nilore Side through (AEC-5-Gub-2) & NPF will be fed from DHA Side through (NPF-2-ISO-1) circuit.
19 | IESCO | GSO Circle | SS&TL ISD | AE(T) RAWALKOT | 132KV TRARKHEL(TRR-4)-HAJEERA(ISO-101) | Following 11KV Feeders willl be affected |  |  | 22-02-02025 | 9:00 | 16:00 | Annual Maintenance of Transmission Line & Protection Testing of C/Bs | 132KV GSS Hajeera will be affected.
[6 empty] | Abbaspur | 48602 | Abaspur |  |  |  |  | Abbaspur
[6 empty] | kahuta | 48607 | F.Kahuta |  |  |  |  | kahuta
[6 empty] | Mandhol-1 | 48606 | Hajeera |  |  |  |  | Mandhol-1
[6 empty] | Bhango | 48604 | Hajeera |  |  |  |  | Bhango
[6 empty] | Hajeera | 48601 | Hajeera |  |  |  |  | Hajeera
[6 empty] | Saree | 48605 | Hajeera |  |  |  |  | Saree
[6 empty] | Mandhol-2 | 48603 | Hajeera |  |  |  |  | Mandhol-2
20 | IESCO | GSO Circle | SS&TL ISD | AE(T) NO.I | 132KV Pirwadhai (PWD-2)-NUST(NST-1)T/Line |  |  |  | 22-02-2025 | 9:00 | 16:00 |  | No area will be affect during this shutdown as 132KV GSS PirWadhai will be fed from 220KV GSS Sangjani side through (E11Q1-PWD-1) and NUST will be fed from H-11 side through NST-2-ISH-1) circuti.
21 | IESCO | GSO Circle | SS&TL ISD | AE(T) Rawalakot | 132KVPlandri (PLD-4)-TrarKhel (TRR-6) T/Line |  |  |  | 23-02-02025 | 09:00 | 16:00 |  | No Area will be effect during this shutdown as 132KV GSS Plandri will be fed from 132KV GSS Kahuta City side through PLD-3-KHC-2)circuit. & Trarkhal will be fed form Kotli side through (TRR-1-KLI-2) circuit.
22 | IESCO | GSO Circle | SS&TL ISD | AE(T) Rawalakot | 33KV Rawalakot (RWK-71) Mong (ISI-71-1) T/Line. | All 11KV feeders of 33KV GSS Mong will be afffected |  |  | 24-02-2025 | 09:00 | 16:00 |  | 33KV GSS Mong will be affected.
[6 empty] | MONG CITY | 94501 | Rawalakot |  |  |  |  | Bulk Supply
[6 empty] | MONG PATTAN SHER KHAN | 94502 | Rawalakot |  |  |  |  | Bulk Supply
[6 empty] | MONG KANCHAN | 94503 | Rawalakot |  |  |  |  | Bulk Supply
23 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.2 | 132KV New Rawat(E13Q1)-DHA Valley(DHV-1) T/Line |  |  |  | 24-02-2025 | 09:00 | 16:00 |  | No Area will be effect during this shutdown as 132KV DHA Valley will be fed from Gangal side through (DHV-2-GNG-1) Circuit.
24 | IESCO | GSO Circle | SS&TL ISD | AE(T) NO.I | 132KV D-12(ISL-1)- G-9 (IDG-1)T/Line |  |  |  | 25-02-2025 | 09:00 | 16:00 |  | No area will be affect during this shutdown as 132KV GSS D-12 will be fed from 220KV GSS Sangjani side through (E14Q1-ISL-2) and G-9 will be fed from 132KV GSS E-8 side through (ISE-2-IDG-2)circuti.
25 | IESCO | GSO Circle | SS&TL ISD | AE(T) No.2 | 132KV I-11(ISN-2)-Zero Point(ISD-6) T/Line |  |  |  | 25-02-2025 | 09:00 | 16:00 |  | No Area will be effect during this shutdown as 132KV I-11 will be fed from KTM side through (ISN-1-KTM-3) circuit.
26 | IESCO | GSO Circle | SS&TL ISD | AE(T) NO.I | 132KV Tarmri(TRC-1)-University (E3Q1) T/Line |  |  |  | 27-02-2025 | 09:00 | 16:00 |  | No area will be affect during this shutdown as 132KV GSS 'Tarmi will be fed from Nilroe Side Through (TRC-2-AEC-4) circuti.
ANNUAL MAINTENACE SCHEDULE OF TRANSMISSION LINES FOR THE MONTH OF 02-2025 UNDER SS&TL DIVISION IESCO Rawalpindi
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | A.E (T) Sub Division Rawalpindi | 132KV AGL - Bahria Town (E5Q1-BTN-2) T/Line |  |  |  | 15-02-2025 | 08:30 Hrs | 16:30 Hrs | Annual Maintenance of Transmission Line & Protection Testing of C/Bs | No area will be affected.
2 |  |  |  |  | 132KV New Rawat - Bahria Town (E18Q1-BTN-2) T/Line | [7 empty] | No area will be affected.
ANNUAL MAINTENACE SCHEDULE OF TRANSMISSION LINES FOR THE MONTH OF 02-2025 UNDER SS&TL DIVISION IESCO RAJJAR
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rajjar | Chakwal | 132KV Chakwal (Cwl-9) - C.S. Shah (CSS-1) CKT-2 | _ |  |  | 04-02-2025 | 9:00 | 16:00 | Tightening of Jumpers at different locations | No area will be affected . Load of CKT-1 will be shift on CKT-2.
2 |  |  |  | Chakwal | 132kv Chakwal (Cwl-8) - C.S. Shah (CSS-2) CKT-1 | _ |  |  | 06-02-2025 | 9:00 | 16:00 |  | No area will be affected . Load of CKT-1 will be shift on CKT-2.
3 |  |  |  | Jhelum | 132 KV S/C L.B Mangla (LBM-2) - Rajjar (RJR-1) | _ |  |  | 06-02-2025 | 9:00 | 16:00 |  | No area will be affected . 132KV GSS Rajjar will be fed from Kharian side.
4 |  |  |  | Mangla | 132 KV Dadyal (DDL-3) - Chaksawari (CKS-3) | _ |  |  | 09-02-2025 | 9:00 | 16:00 |  | No area will be affected 32KV GSS Chaksawari will be fed from Mirpur (MPR-2 , CKS-2) side.
5 |  |  |  | Mangla | 132KV D/C Mangla (-E1Q1-E1Q3, -E2Q1-E2Q3) Dadyal(DDL-2, DDL-2) CKT-1,CKT-2 | _ |  |  | 11-02-2025 | 10:00 | 12:00 |  | 132KV GSS Dadyal will be fed from Mangla side.
6 |  |  |  | Chakwal | 132KV Jatli (JTL-2)-Padshahan (PDN-2) | _ |  |  | 12-02-2025 | 9:00 | 16:00 |  | 132KV GSS Jatli will be fed from Gujjar Khan side (GKN-3) & Padshahan GSS will be fed from Chakwal side (Cwl-12).
7 |  |  |  | Jhelum | 132 KV S/C L.B Mangla (LBM-2) - Rajjar (RJR-1) | _ |  |  | 12-02-2025 | 9:00 | 16:00 |  | No area will be affected . 132KV GSS Rajjar will be fed from Kharian side.
8 |  |  |  | Mangla | 132 KV S/C Dadyal (DDL-4) - Gulpur (E4Q1) | _ |  |  | 13-02-2025 | 9:00 | 16:00 |  | No area will be affected as Gulpur Power House will be fed from GSS Kotli side.
9 |  |  |  | Jhelum | 132KV S/C Dandot (DDT-3)-Head Faqurian (HFQ-3) | _ |  |  | 15-02-2025 | 9:00 | 16:00 |  | No area will be affected as 132KV GSS Dandot will be fed from Chakwal side.
10 |  |  |  | Jhelum | 132 KV S/C Mangla Power House (E1Q1 ,E1Q3) - R.B Mangla (RBM-1) | _ |  |  | 17-02-2025 | 9:00 | 13:00 |  | No area will be affected . 132KV GSS G/Khan will be feed from New Rawat side.
11 |  |  |  | Chakwal | 132KV New Chakri Road (CHR-4) - Chakwal (Cwl-6) | _ |  |  | 18-02-2025 | 9:00 | 16:00 |  | No area will be affected . Load of CKT will be shifted on Cwl-5 & Cwl-14..
12 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rajjar | MANGLA | 132 KV S/C L.B Mangla (LBM-1) to Mangla Power House (E1Q2, E1Q3) | _ |  |  | 19-02-2025 | 9:00 | 13:00 | Tightening of Jumpers at different locations | No area will be affected . GSS L.B Mangla will be feed from Rajjar side.
13 |  |  |  | Jhelum | 132 KV S/C L.B Mangla (LBM-2) - Rajjar (RJR-1) | _ |  |  | 20-02-2025 | 9:00 | 16:00 |  | No area will be affected . 132KV GSS Rajjar will be fed from Kharian side.
14 |  |  |  | Mangla | 132kv D/C Mangla (-E1Q1-E1Q3) Dadyal(DDL-2) CKT-2 | _ |  |  | 24-02-2025 | 9:00 | 16:00 |  | 132KV GSS Dadyal will be fed from Mangla side.
15 |  |  |  | Chakwal | 132KV Kalar Kahar (KKR-2) - N.P. Sethi (NPS-1) | Following 11KV Feeders willl be affected |  |  | 25-02-2025 | 900 | 1600 |  | 132KV GSS N.P. Sethi will be affected.
[6 empty] | O/G Kalar Khar | 059701 | - |  |  |  |  | KALAR KAHAR, KHAIRPUR, RANSIAL, CHUMBI, KHANDOWA, CHAK KHOSHI, KHOHAR BALA,
[6 empty] | Miani | 059704 | [5 empty] | MIANI,WASNAL,JHAMRA,PAHAR KHAN, GHAI GUFFRAN WALA, MAKHIAL, BUCHAL KHURD
[6 empty] | Khairpur | 059706 | [5 empty] | MIANI,WASNAL,JHAMRA,PAHAR KHAN, GHAI GUFFRAN WALA, MAKHIAL, BUCHAL KHURD
[6 empty] | Padrar | 059703 | [5 empty] | under FESCO
[6 empty] | Istaqlal camp | 059705 | [5 empty] | ARMY ISTAQLAL CAMP AREA.
[6 empty] | PAF Kalar Khar | 059707 | [5 empty] | INDEPENDENT ARMY FEEDER.
[6 empty] | Munara | 059702 | [5 empty] | MUNARA, BUCHAL KALAN,SAR KALAN, MALAN KHURAD, DHURNAKA, NOORPUR, NEELA