## mail-approval-shutdown
S # | DISCO | Circle | Division | Sub Division | Name of 132 KV Grid Station | Name of Feeder | Feeder Code | Date | Existing Operation Maintenance Date | Proposed Change Date for Operation Maintenance | Time From | Time To | Purpose of Shut Down | Affected Area | Remarks
11 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | Gracy Line | 002523 | 19.01.2025 26.01.2025 09.02.2025 23.02.2025 | - |  | 09.00 | 14.00 | For stringing of HT Line iro Bifurcation of 11KV Gulzar-e-Quaid emanating from 132KV Chaklala GSS under ELR Head | Gracy Line & sorrounding area
12 | [5 empty] | Rahimabad | 002541 |  | 23.01.2025 26.01.2025 |  | 09.00 | 14.00 |  | Rahimabad & sorrounding area
13 | [5 empty] | SPD-II | 002529 |  | 26.01.2025 |  | 09.00 | 14.00 |  | VVIP & sorrounding area
14 |  |  |  | Civil Line |  | RIC | 002534 |  | - |  | 09.00 | 14.00 |  | RIC & sorrounding area
3 | IESCO | Cantt | Cantt | Sowan | 132KV Chaklala | RIC | 2534 | 26.01.2025 03.02.2025 05.02.2025 10.02.2025 12.02.2025 | 26.01.2025 |  | 09:00 | 14:00 | for Tentative D/N for External Electrification of Takebeer 1 Project (A project of CWO) Kot Jabbi Rwp | RIC and Surrounding area.
4 | IESCO | Cantt | Cantt | Sowan |  | Gracy Line | 2533 |  | - |  | 09:00 | 14:00 |  | Gracy Line & Surrounding area.
5 | IESCO | Cantt | Cantt | Sowan |  | Chaklala | 2503 | 26.01.2025 17.02.2025 19.02.2025 24.02.2025 26.02.2025 | 15.01.2025 |  | 09:00 | 14:00 |  | Chaklala & Surrounding
6 | IESCO | Cantt | Cantt | Chaklala |  | Rehmatabad-I | 2519 |  | 21.01.2025 27.01.2025 |  | 09:00 | 14:00 |  | Rehmatabad & Surrounding
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Islamabad | A.E (T) Sub Divisoin No-II Islamabad | 132KV Kahuta City (KHC-2) - Palandri (PLD-3) along with related earth Switch. |  |  | 02-02-2025, 04-02-2025, 06-02-2025, 08-02-2025, 10-02-2025, 12-02-2025, 15-02-2025, 17-02-2025, 19-02-2025, 22-02-2025, 24-02-2025, 26-02-2025 Daily Basis) |  |  | 08:00 Hrs | 16:00 Hrs | For Erection of ZM-1 Towers | No area will be affected as 132KV GSS Kahuta City along with Chaint will be fed from 132KV GSS KRL Kahuta side & Palandri, Tararkhal & Hajeera will be fed from Kotli side.
2 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rajjar | A.E (T) SS&TL Sub Division Mangla | 132KV Dudyal (DDL-4) - Gulpur (E4Q1) & 132KV Dudyal (DDL-3) - Chakswari (CKS-3) |  |  | 01-02-2025, 03-02-2025, 09-02-2025, 11-02-2025, 18-02-2025, 20-02-2025, 23-02-2025, 25-02-2025, 27-02-2025 Daily Basis) |  |  | 07:00 Hrs | 18:00 Hrs | For Erection/Stringing between Loc No. 25 to 34. | No Area will be affected as 132 kv Kotli and Khoi Ratta GSS will be fed from Tararkhal Side or Gulpur side. 132 Kv Islamgarh & Chakswari will be fed from Mirpur side. However, 50 MW load management will be carried out in case of contigency/over loading.
1 | IESCO | RWP | Cantt | Civil Line | Chaklala | RIC | 2534 | 06-02-2025 10-02-2025 13-02-2025 17-02-2025 20-02-2025 24-02-2025 27-02-2025 | 02.02.2025 |  | 09:00 | 14:00 | Tentative D/N for External Electrification of Takbeer 1 Project ( A Project of CWO) Kot Jabbi Rwp | Civil Line
2 | IESCO | RWP | Satellite Town | Chandni Chowk | Chaklala | Benazir Bhutto | 2537 |  | Nil |  | 09:00 | 14:00 |  | Chandni Chowk
3 | IESCO | RWP | Cantt | Chaklala | Chaklala | Gracy Line | 2533 |  | Nil |  | 09:00 | 14:00 |  | Gracy Line
4 | IESCO | RWP | Satellite Town | Gulzar e Qaid | Chaklala | Sector-IV | 2536 | 03-02-2025 08-02-2025 15-02-2025 22-02-2025 25-02-2025 | 04.02.2025 11.02.2025 18.02.2025 25.02.2025 |  | 09:00 | 14:00 |  | Sector-IV
5 | IESCO | RWP | Satellite Town | Gulzar e Qaid | Chaklala | Airport Society | 2526 |  | 01.02.2025 06.02.2025 12.02.2025 19.02.2025 26.02.2005 |  | 09:00 | 14:00 |  | Airport Society
6 | IESCO | RWP | City | Zafar-ul Haq | Chaklala | DK Hukam Dad | 2527 |  | 12.02.2025 17.02.2025 20.02.2025 24.02.2025 |  | 09:00 | 14:00 |  | DK Hukam Dad
7 | IESCO | RWP | City | Zafar-ul Haq | Chaklala | Tamasamabad | 2518 |  | 03.02.2025 08.02.2025 15.02.2025 19.02.2025 26.02.2025 |  | 09:00 | 14:00 |  | Tamasamabad
8 | IESCO | RWP | Cantt | Chaklala | Chaklala | VVIP | 2514 |  | Nil |  | 09:00 | 14:00 |  | VVIP
9 | IESCO | RWP | Cantt | Jhanda | Chaklala | MES | 2506 |  | Nil |  | 09:00 | 14:00 |  | MES
10 | IESCO | RWP | Cantt | Chaklala | Chaklala | PAF | 2509 | 03-02-2025 08-02-2025 15-02-2025 22-02-2025 25-02-2025 | 03.02.2025 08.02.2025 17.02.2025 22.02.2025 27.02.2025 |  | 09:00 | 14:00 | Tentative D/N for External Electrification of Takbeer 1 Project ( A Project of CWO) Kot Jabbi Rwp | PF
11 | IESCO | RWP | Cantt | Chaklala | Chaklala | Rehmatabad-I | 2519 |  | 01.02.2025 10.02.2025 19.02.2025 25.02.2005 |  | 09:00 | 14:00 |  | Rehmatabad-I
12 | IESCO | RWP | Cantt | Chaklala | Chaklala | Chaklala | 2503 |  | Nil |  | 09:00 | 14:00 |  | Chaklala
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | AE(T) Margalla | 132Kv Fateh Jang (FTJ-1) - Bahtermore (BMW-1) T-off Fauji Cement Plant (ISO-101) along with related earth switch |  |  | 05-02-2025 |  |  | 09:00 Hrs | 12:00 Hrs | For opening the jumpers of Loc No. 95 for erection of towers & stringing of conductor between loc No. 68 to 95 for remodeling of 132KV T/Line New Wah to Fateh Jang to Bahtermore | 132KV Fauji Cement Plant will be affected. However, 132KV GSS Bahtermore will be fed from New Wah side & 132KV GSS Fateh Jang will be fed from Sangjani side.
[5 empty] | 132KV Bahtermore (BMW-1) to Loc No. 95. |  |  | 05-02-2025 to 06-03-2025 (Contineous) |  |  | 05-02-2025 09:00 Hrs | 06-03-2025 16:00 Hrs |  | During the Shut Down 132KV T/Line Bahtermore to Loc No. 95 will remain off & remaining portion from Loc No. 95 to Fateh Jang will be energized.
5 | IESCO | IBD | Bhara Kahu | B/K Rural | University Grid 220KVA | Bari Imam | 89212 | 04-02-2025 08-02-2025 24-02-2025 27-02-2025 | 08.02.2025 12.02.2025 |  | 09:00 | 14:00 | Bifurcation of Bari Imam Feeder | Bari Imam Mall Pur
6 | IESCO | IBD | No.I | F-6 | University Grid 220KVA | Punjab House | 122506 |  | Nil |  | 09:00 | 14:00 |  | Independent
7 | IESCO | IBD | No.I | F-6 | University Grid 220KVA | Khayban e Iqbal | 122505 |  | Nil |  | 09:00 | 14:00 |  | Independent
8 | IESCO | IBD | Bhara Kahu | B/K Rural | University Grid 220KVA | Pir Sohawa | 122503 |  | 01.02.2005 20.02.2025 24.02.2025 |  | 09:00 | 14:00 |  | Pir Sohawa and Sarrounding
9 | IESCO | IBD | Bhara Kahu | B/K Rural | University Grid 220KVA | Quied E Azam University | 122502 | 24-02-2025 27-02-2025 | 15.02.2025 |  | 09:00 | 14:00
10 | IESCO | Cantt | Mandra | Wadala | 132KV Old Rawat | Basali | 17728 | 06.02.2025 10.02.2025 15.02.2025 19.02.2025 24.02.2025 27.02.2025 | 03.02.2025 06.02.2025 10.02.2025 15.02.2025 19.02.2025 24.02.2025 27.02.2025 |  | 09:00 | 14:00 | Shifting of HT / LT line IRO Rawalpindi Ring Road Project | Basali & surrounding area
11 | IESCO | Cantt | Mandra | Wadala | 500KV New Rawat | Jhata Hatyal | 64503 |  | 03.02.2025 06.02.2025 10.02.2025 15.02.2025 19.02.2025 24.02.2025 27.02.2025 |  | 09:00 | 14:00 |  | Jhata hatyal & Surrounding areas
12 | IESCO | Cantt | Mandra | Wadala | 132KV Old Rawat | New kalyam | 17721 | 06.02.2025 10.02.2025 15.02.2025 19.02.2025 24.02.2025 27.02.2025 | 03.02.2025 06.02.2025 10.02.2025 15.02.2025 19.02.2025 24.02.2025 27.02.2025 |  | 09:00 | 14:00 | Shifting of HT / LT line IRO Rawalpindi Ring Road Project | New Kalyam & Surrounding areas
13 | IESCO | Cantt | Mandra | Wadala | 500KV New Rawat | Industrial | 64502 |  | 03.02.2025 06.02.2025 10.02.2025 15.02.2025 19.02.2025 24.02.2025 27.02.2025 |  | 09:00 | 14:00 |  | Industrial & Surrounding areas
14 | IESCO | Cantt | Mandra | Mandra | 500KV New Rawat | Gumti | 64512 |  | No scheduled |  | 09:00 | 14:00 |  | Gumti & Surrounding areas
15 | IESCO | Cantt | Mandra | Wadala | 132KV Old Rawat | Old Kalyam | 17710 |  | 03.02.2025 06.02.2025 15.02.2025 19.02.2025 24.02.2025 27.02.2025 |  | 09:00 | 14:00 |  | Kalyam & surrounding areas
16 | IESCO | Cantt | Mandra | Chak Bali | 500KV New Rawat | Bhal | 64507 |  | 03.02.2025 06.02.2025 10.02.2025 15.02.2025 19.02.2025 24.02.2025 27.02.2025 |  | 09:00 | 14:00 |  | Bahl & surounding areas
17 | IESCO | Cantt | T/Abad | Dhaimial | 132KV Ranyal | Moorat | 120405 |  | 03.02.2025 10.02.2025 19.02.2025 27.02.2025 |  | 09:00 | 14:00 |  | Moorat & Surrounding areas
18 | IESCO | Cantt |  | Adiala | 132KV Adiala | Khasala | 109108 |  | 03.02.2025 10.02.2025 19.02.2025 27.02.2025 |  | 09:00 | 14:00 |  | Khasala & Surrounding areas
19 | IESCO | Cantt |  | Adiala | 500KV Rawat | Jarar Camp | 64510 |  | Nil |  | 09:00 | 14:00 |  | Jarrar Camp
34 | IESCO | City | Westridge | Seham | I-16 | I-14/2 | No load | 04.02.2025 13.02.2025 17.02.2025 20.02.2025 25.02.2025 | 04.02.2025 13.02.2025 17.02.2025 20.02.2025 25.02.2025 |  | 09:00 | 14:00 | For Stringing of HT line IRO Taj Residencia. | Sector I-14 & surroundings
35 | IESCO | City | Westridge | Seham | I-16 | I-14/3 | 104602 |  |  |  | 09:00 | 14:00 |  | Sector I-14 & surroundings
36 | IESCO | City | Westridge | Seham | I-16 | Lakhoo Road | 104615 |  |  |  | 09:00 | 14:00 |  | Lakhu Road & surroundings
1 | IESCO | Cantt | Cantt | Sowan | 132KV Sowan | Mehboob Shaheed | 87418 | 06.02.2025 08.02.2025 13.02.2025 19.02.2025 25.02.2025 | 03.02.2025 11.02.2025 15.02.2025 19.02.2025 24.02.2025 27.02.2025 |  | 09:00 | 14:00 | For reconductoring of Fauji Foundation Feeder & shifting of HT/ LT Lines Deposit Work Potohar Avenue | Chiriten Colony & Surrounding area | AM Shut down on dated 24.02.2025 is hereby Cancelled
2 | IESCO | Cantt | Cantt | Morgah | 132KV Sowan | Park View | 87410 |  | 01.02.2025 08.02.2025 17.02.2025 24.02.2025 |  | 09:00 | 14:00 |  | Morgah, Park View and Surrounding area. | AM Shut down on dated 24.02.2025 is hereby Cancelled
3 | IESCO | Cantt | Cantt | Morgah | 132KV Sowan | Pindi Board | 87415 |  | 04.02.2025 10.02.2025 15.02.2025 26.02.2025 |  | 09:00 | 14:00 |  | BISE & Surrounding area. | AM Shut down on dated 26.02.2025 is hereby Cancelled
4 | IESCO | Cantt | Cantt | Korang | 132KV Sowan | Jail Park-1 | 87407 |  | 03.02.2025 13.02.2025 27.02.2025 |  | 09:00 | 14:00 |  | Boastan Road Car Chowk & Surrounding area
5 | IESCO | Cantt | Cantt | Korang | 132KV Sowan | Car Chowk | 87414 |  | 05.02.2025 17.02.2025 25.02.2025 |  | 09:00 | 14:00 |  | Car Chowk & Surrounding
9 | IESCO | Cantt | Rawat | Rawat | 132KV Sowan | Imarat | 87420 | 12.02.2025 18.02.2025 | - |  | 09:00 | 14:00 | For reconductoring of Fauji Foundation Feeder & shifting of HT/ LT Lines Deposit Work Potohar Avenue | Imarat & sorrounding area
10 | IESCO | Cantt | Rawat | Rawat | 132KV Sowan | Sowan | 87404 |  | 10.02.2025 17.02.2025 |  | 09:00 | 14:00 |  | Imarat & sorrounding area | AM Shut down on dated 17.02.2025 is hereby Cancelled
11 | IESCO | Cantt | Cantt | Sowan | 132KV Sowan | Mora Nagial | 87422 |  | 04.02.2025 08.02.2025 12.02.2025 18.02.2025 22.02.2025 26.02.2025 |  | 09:00 | 14:00 |  | Mora Nagial & Surrounding area
12 | IESCO | Cantt | Rawat | RAWAT | 132KV Sowan | Zaraj-I | 87411 | 10.02.2025 18.02.2025 28.02.2025 | 10.02.2025 |  | 09:00 | 14:00 | For reconductoring of Fauji Foundation Feeder & shifting of HT/ LT Lines Deposit Work Potohar Avenue | Zaraj-I & Surrounding area
13 | IESCO | Cantt | Rawat | RAWAT | 132KV Sowan | Zaraj-II | 87423 |  | 10.02.2025 |  | 09:00 | 14:00 |  | Zaraj-II & Surrounding area
14 | IESCO | Cantt | Rawat | RAWAT | 132KV Sowan | Zeta-I | 87424 |  | - |  | 09:00 | 14:00 |  | Zeta Mall & Surrounding area
15 | IESCO | Cantt | Rawat | RAWAT | 132KV Sowan | IST | 87421 |  | - |  | 09:00 | 14:00 |  | IST Universty & Surrounding area
16 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | New Rawat | 17701 |  | 11.02.2025 18.02.2025 |  | 09:00 | 14:00 |  | AOWHS & Surrounding area
17 | IESCO | Cantt | Cantt | Sowan | 132KV Sowan | Mora Nagial | 87422 |  | 04.02.2025 08.02.2025 12.02.2025 18.02.2025 22.02.2025 26.02.2025 |  | 09:00 | 14:00 |  | Mora Nagial & Surrounding area
18 | IESCO | Cantt | Cantt | Sowan | 132KV Sowan | Fouji Foundation | 87405 | 08.02.2025 10.02.2025 18.02.2025 24.02.2025 | 15.02.2025 |  | 09:00 | 14:00 |  | Fouji Foundation & Surrounding
19 | IESCO | Cantt | Cantt | Sowan | 132KV Sowan | Mora Nagial | 87422 |  | 04.02.2025 08.02.2025 12.02.2025 18.02.2025 22.02.2025 26.02.2025 |  | 09:00 | 14:00 |  | Mora Nagial & Surrounding area
20 | IESCO | Cantt | Cantt | Morgah | 132KV Sowan | Morgah | 87406 |  | 03.02.2025 06.02.2025 12.02.2025 15.02.2025 19.02.2025 25.02.2025 |  | 09:00 | 14:00 |  | Morgah and Surrounding . | AM Shut down on dated 25.02.2025 is hereby Cancelled
21 | IESCO | Cantt | Cantt | Sowan | 132KV Sowan | Walayat Complex | 87412 |  | - |  | 09:00 | 14:00 |  | Walayat Complex & Surrounding area
22 | IESCO | Cantt | Cantt | Morgah | 132KV Sowan | Ex Lawyer | 87416 |  | - |  | 09:00 | 14:00 |  | EX Lawyer
23 | IESCO | Cantt | Cantt | Morgah | 132KV Sowan | AOWHS | 87402 |  | 05.02.2025 11.02.2025 22.02.2025 27.02.2025 |  | 09:00 | 14:00 |  | AOWHS & Surrounding area | AM Shut down on dated 11.02.2025 is hereby Cancelled
24 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | RCCI-I | 17715 | 09.02.2025 12.02.2025 16.02.2025 19.02.2025 23.02.2025 | 02.02.2025 09.02.2025 16.02.2025 23.02.2025 |  | 09:00 | 14:00 | For shifting of load to newly constructed RCCI Grid Station | RCCI & sorrounding area
25 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | RCCI-III | 17726 |  | 02.02.2025 09.02.2025 16.02.2025 23.02.2025 27.02.2025 |  | 09:00 | 14:00 |  | RCCI & sorrounding area
26 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | RCCI-IV | 17730 |  | 02.02.2025 09.02.2025 16.02.2025 23.02.2025 |  | 09:00 | 14:00 |  | RCCI & sorrounding area
7 | IESCO | Cantt | Mandra | Wadala | 132KV Old Rawat | Pind Jhatla | 017727 | 10.02.2025 15.02.2025 19.02.2025 24.02.2025 27.02.2025 | 03.02.2025 08.02.2025 12.02.2025 18.02.2025 22.02.2025 27.02.2025 |  | 09:00 | 14:00 | For area planning of 11KV Jatha Hathial & 11KV Pind Jhatla Feeder | Suparco & sorrounding area
8 | IESCO | Cantt | Mandra | Wadala | 500KVA New Rawat | Islamabad Feeder Mill | 64511 |  | - |  | 09:00 | 14:00 |  | Islamabad Feed Mill & Sorrounding Area
9 | IESCO | Cantt | Mandra | Wadala | 500KV New Rawat | Lab-I | 64504 |  | - |  | 09:00 | 14:00 |  | Lab-I & Sorrounding Area
10 | IESCO | Cantt | Mandra | Wadala |  | Lab -II | 64505 |  | - |  | 09:00 | 14:00 |  | Lab-II & Sorrounding Area
11 | IESCO | Cantt | Mandra | Wadala |  | Relance Weaving Mill | 64501 |  | - |  | 09:00 | 14:00 |  | Relince & Sorrounding Area
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | AE(T) Margalla | 132Kv Wah-83 controlling 132/66KV 31.5/140MVA Power Transformer T-3 at 132KV GSS New Wah |  |  | 06-02-2025 to 15.03.2025 (Contineous) |  |  | 06.02.2025 0900Hrs | 15.03.2025 0900Hrs | For dismentling the existing 132KV Transformer Bay & 66KV Line Bay Haripure-Havelian to Spare this line bay for 132KV T/Line New wah to Bahtarmore | No Area will be affected, 66Kv GSS Haripure will be fed from Havelian (PESCO)
1 | IESCO | IBD | Div-II | F-8 | F-II | F-10 Markaz | 69208 | 11-02-2025 17-02-2025 25-02-2025 | 17-02-2025 |  | 09:00 | 14:00 | Estimate for Reconductoring of 11KV F-10 feeder from ACSR Rabbit to ACSR DOG from Street No. 63 F-10/3 to Gull Plaza F-10 Markaz Islamabad 2k25412DOPHT03 | F-10 Markaz
2 | IESCO | IBD | Div-II | F-8 | F-II | F-10 | 69203 |  | 11-02-2025 |  | 09:00 | 14:00 |  | F-10
3 | IESCO | IBD | Div-II | F-8 | F-II | F-10/3 | 69212 |  | 04-02-2025 |  | 09:00 | 14:00 |  | F-10/3
11 | IESCO | IBD | Div-1 | Nilore | 132/220kv G/S B/Khu | Athal | 89217 | 24-02-2025 | 03-02-2025 20-02-2025 26-02-2025 |  | 09:00 | 14:00 | Bifurcation of Shah Pur Feeder/ Installation of HT Str 58' and Strninging of HT line in R/O External Electrification of Park View City Housing Society | Bhara Kahu Bazar, Sanjalian and Surrounding Area
12 | IESCO | IBD | B/Khu | B/Khu (U) | 132/220 KV G/S B/Khu | B/ Khu-I | 89201 |  | 08-02-2025 19-02-2025 |  | 09:00 | 14:00 |  | Madina Town, Nain Sukh,and Surrounding Area
13 | IESCO | IBD | B/Khu | B/Khu (U) | 132/220 KV G/S B/Khu | B/ Khu-II | 89219 |  | 08-02-2025 19-02-2025 |  | 09:00 | 14:00 |  | Athal Road, Tumair, Athal vill.
14 | IESCO | IBD | B/Khu | J/Gali | 132KV Kuldana Murree | PC | 13708 | 15-02-2025 26-02-2025 | 03-02-2025 20-02-2025 26-02-2025 |  | 09:00 | 14:00 | Estimate for shifting of HT Line due to Road Extension work of khuldana at khuldana Murree | PC Hotel
15 | IESCO | IBD | B/Khu | Patriata | 132KV Kuldana Murree | TDCP | 13717 |  | 10-02-2025 17-02-2025 25-02-2025 |  | 09:00 | 14:00 |  | Patriata Chair left | AM Shut down on 11KV feeder dated 25.02.2025 is hereby cancelled
16 | IESCO | IBD | B/Khu | J/Gali | 132KV Kuldana Murree | MCM | 13716 |  | 06-02-2025 13-02-2025 |  | 09:00 | 14:00 |  | Murree Military college
17 | IESCO | IBD | B/Khu | J/Gali | 132KV Kuldana Murree | GHARIAL | 13711 |  | 06-02-2025 13-02-2025 |  | 09:00 | 14:00 |  | J/gali Bazar Gjarial camp.Kashmiri Bazar,seher bagla Aliot
18 | IESCO | IBD | B/Khu | J/Gali | 132KV Kuldana Murree | KOHALLA | 13701 |  | 03-02-2025 20-02-2025 26-02-2025 |  | 09:00 | 14:00 |  | Kani Tak, Mohra Sharif ,Rawat Osai Dewel Malkot
19 | IESCO | IBD | B/Khu | Murree | 132KV Kuldana Murree | Sunny Bank | 13704 |  | 12-02-2025 19-02-2025 |  | 09:00 | 14:00 |  | 12 Div, Moter Agency , Sunny Bazar , chatta morh.
20 | IESCO | IBD | B/Kahu | J/Gali | Murree | Barrian | 13706 |  | 10-02-2025 17-02-2025 24-02-2025 |  | 09:00 | 14:00 |  | Ratti Gali, Sawar Gali, Kalli Matti, Barrian
21 | IESCO | City | Westridge | Tarnol | Tarnol | Bajnial-I | 106903 | 13.02.2025 19.02.2025 26.02.2025 | 2025-02-13 |  | 09:00 | 14:00 | Nr.Boys School Bajnial Barkat House Village Bajnial | Bajnial & surroundings
22 | IESCO | City | Westridge | Tarnol | Tarnol | Bajnial-II |  |  |  |  | 09:00 | 14:00
23 | IESCO | City | Westridge | Misrial | Pirwadhai | Madina Colony | 43334 | 22.02.2025 26.02.2025 | 10/02/2025 15/02/2025 20/02/2025 26/02/2025 |  | 09:00 | 14:00 | Madina Cly Gali No.04 &07 | Madina Colony & surroundings
24 | IESCO | City | Westridge | Misrial | Pirwadhai | Askari-II | 43325 | 13.02.2025 19.02.2025 25.02.2025 | 13/02/2025 19/02/2025 25/02/2025 |  | 09:00 | 14:00 | Nr.Saqib Gen Store Afshan Cly | Askari XI Lane 1 to 7
26 | IESCO | City | Westridge | Westridge | KTM | Chearing Cross | 8602 | 17.02.2025 24.02.2025 | 12/02/2025 19/02/2025 26/02/2025 |  | 09:00 | 14:00 | Safety Hazard Marwa Hotel Peshawar Road | Chearing Cross & surroundings
27 | IESCO | City | Westridge | Westridge | KTM | Millatabad | 8616 |  | 13/02/2025 20/02/2025 27/02/2025 |  | 09:00 | 14:00 |  | Misrial rd,ilyas Cly ,Gul Nar Cly.
28 | IESCO | City | Westridge | Misrial | Pirwadhai | Misrial Road | 43318 | 12.02.2025 24.02.2025 | 12.02.25 18.02.25 24.02.25 |  | 09:00 | 14:00 | LV work at Capt.Toor Street Range Road | Misria Road & surroundings
29 | IESCO | City | Westridge | K/Abad | I-16 | Ameer Hamza | 104616 |  | 24.02.25 27.02.25 |  | 09:00 | 14:00 |  | Ameer Hamza Cly & surroundings
30 | IESCO | City | Westridge | Seham | KTM | Range Road | 8627 |  | 10.02.25 19.02.25 27.02.25 |  | 09:00 | 14:00 |  | Range Road & surroundings.
37 | IESCO | City | Westridge | Tarnol | KTM | Shams Cly | 8628 | 11.02.2025 15.02.2025 18.02.2025 20.02.2025 22.02.2025 25.02.2025 27.02.2025 | 22.02.25 |  | 09:00 | 14:00 | Re-Conductoring of Shammas Colony Feeder | Shams Cly & surroundings.
38 | IESCO | City | Westridge | Tarnol | KTM | Modern Flour Mill | 8603 |  | Nil |  | 09:00 | 14:00 |  | Modern floor Mill & surroundings.
1 | IESCO | City | S/Town | Gangal | I-8 | AFOHS | 61131 | 12.02.2025 18.02.2025 24.02.2025 | Nil |  | 09:00 hrs. | '12:00 hrs | HT Fitting/Stringing work IRO Extension of load from 120 KW to 7oo KW (580 KW extension) IRO KRL Medical Center Chattri Chowk Rwp | Air Force Officer Housing Society
1 | IESCO | Attock | Taxila | Margall | 132KV Sangjani | Capital Square-1 | 121804 | 13.02.2025 15.02.2025 17.02.2025 19.02.2025 21.02.2025 23.02.2025 | - |  | 07:30 AM | 10:30 AM | Laying of HT Cable of J-7 Feeder | Capital Square
2 | [5 empty] | Capital Square-2 | 121805 |  | - |  |  |  |  | Capital Square
1 | IESCO | IBD | Div-1 | Nilore | 132/220kv G/S B/Khu | Athal | 89217 | 27-02-2025 | 03-02-2025 20-02-2025 26-02-2025 |  | 09:00 | 14:00 | Bifurcation of Shah Pur Feeder/ Installation of HT Str 58' and Strninging of HT line in R/O External Electrification of Park View City Housing Society | Bhara Kahu Bazar, Sanjalian and Surrounding Area
2 | IESCO | IBD | B/Khu | B/Khu (U) | 132/220 KV G/S B/Khu | B/ Khu-I | 89201 |  | 08-02-2025 19-02-2025 |  | 09:00 | 14:00 |  | Madina Town, Nain Sukh,and Surrounding Area
3 | IESCO | IBD | B/Khu | B/Khu (U) | 132/220 KV G/S B/Khu | B/ Khu-II | 89219 |  | 08-02-2025 19-02-2025 |  | 09:00 | 14:00 |  | Athal Road, Tumair, Athal vill.
4 | IESCO | IBD | IBD-I | F-6 | 132KV GSS F-6 | Secretariat-III | 86423 | 15.02.2025 22.02.2025 |  |  | 09:00 | 14:00 | Replacement of HT Cable at 11KV PTET feeder | Secretariat-III
5 | IESCO | IBD | IBD-I | F-6 | 132KV GSS F-6 | Secretariat-IV | 86424 |  |  |  | 09:00 | 14:00 |  | Secretariat-IV
6 | IESCO | IBD | IBD-I | F-6 | 132KV GSS F-6 | Jinnah Super | 86411 |  |  |  | 09:00 | 14:00 |  | Jinnah Super
7 | IESCO | IBD | IBD-I | F-6 | 132KV GSS F-6 | NIC |  |  |  |  | 09:00 | 14:00 |  | NIC
8 | IESCO | IBD | IBD-I | F-6 | 132KV GSS F-6 | State Life | 86424 |  |  |  | 09:00 | 14:00 |  | State Life
9 | IESCO | IBD | IBD-I | F-6 | 132KV GSS F-6 | Saudi pak Tower | 86407 |  |  |  | 09:00 | 14:00 |  | Saudi pak Tower
10 | IESCO | IBD | IBD-I | F-6 | 132KV GSS F-6 | Stock Exchange | 86413 |  |  |  | 09:00 | 14:00 |  | Stock Exchange
11 | IESCO | IBD | IBD-I | F-6 | 132KV GSS F-6 | F-7/2 | 86403 |  |  |  | 09:00 | 14:00 |  | F-7/2
12 | IESCO | IBD | IBD-I | F-6 | 132KV GSS F-6 | Shamas | 86421 |  |  |  | 09:00 | 14:00 |  | Shamas
13 | IESCO | IBD | IBD-I | F-6 | 132KV GSS F-6 | F-9/1 | 86402 |  |  |  | 09:00 | 14:00 |  | F-9/1
14 | IESCO | IBD | IBD-I | F-6 | 132KV GSS F-6 | Babul Islam | 86420 |  |  |  | 09:00 | 14:00 |  | Babul Islam
15 | IESCO | IBD | IBD-I | F-6 | 132KV GSS F-6 | PTET | 86416 |  |  |  | 09:00 | 14:00 |  | PTET
16 | IESCO | IBD | IBD-I | F-6 | 132KV GSS F-6 | Parbat | 86404 |  |  |  | 09:00 | 14:00 |  | Parbat
18 | IESCO | City | S/Town | Gulzar-e-Quiad | Chaklala | Gulzar-e-Quiad | 2532 | 20.02.2025 27.02.2025 | 15/02/2025 22/02/2025 |  | 09:00 | 14:00 | Stringing of HT line IRO Bifurcation of 11-KV Gulzar Qiuiad emanating form 132-KV Grid Station Chaklala under ELR head (2k24-431-ELR-HT-14) | Dk Gangal,Dk.Sher Zaman,KRL road,Al-noor Cly
19 | IESCO | City | S/Town | Gangal | Chaklala | Khanna Road | 2517 |  | 2025-02-22 |  | 09:00 | 14:00 |  | New Gulzar-E-Quiad, Magistrate Cly & surroundings
20 | IESCO | City | S/Town | Gulzar-e-Quiad | Chaklala | Gangal | 2512 |  | 17/02/2025 24/02/2025 |  | 09:00 | 14:00 |  | Gulzar-E-Quiad,Shah Khalid Cly,Dk Anwar Magistrate Cly
21 | IESCO | City | City | Zafar-Ul-Haq | Chaklala | Tehmasimabad | 2518 | 27-02-2025 | 15/02/2025 19/02/2025 26/02/2025 |  | 09:00 | 14:00 |  | Temasimabad & surroundings
22 | IESCO | City | City | Zafar-Ul-Haq | Chaklala | Dk.Hukamadad | 2527 |  | 17/02/2025 20/02/2025 24/02/2025 |  | 09:00 | 14:00 |  | Dk.Hukamdad & surroundings
23 | IESCO | Cantt | Cantt | Sowan | 132KV Sowan | Mehboob Shaheed | 87418 | 15.02.2025 22.02.2025 | 03.02.2025 11.02.2025 15.02.2025 19.02.2025 24.02.2025 27.02.2025 |  | 9:00 | 14:00 | For shifting of HT/ LT Lines Deposit Work Potohar Avenue | Chiriten Colony & Surrounding area
24 | IESCO | Cantt | Cantt | Sowan | 132KV Sowan | Fouji Foundation | 87405 |  | 15.02.2025 |  |  |  |  | Fouji Foundation & Surrounding
25 | IESCO | Cantt | Cantt | Morgah | 132KV Sowan | Morgah | 87406 |  | 03.02.2025 06.02.2025 12.02.2025 15.02.2025 19.02.2025 25.02.2025 |  |  |  |  | Morgah and Surrounding .
26 | IESCO | Cantt | Cantt | Morgah | 132KV Sowan | Ex Lawyer | 87416 |  | - |  |  |  |  | EX Lawyer
27 | IESCO | Cantt | Cantt | Morgah | 132KV Sowan | AOWHS | 87402 |  | 05.02.2025 11.02.2025 22.02.2025 27.02.2025 |  |  |  |  | AOWHS & Surrounding area
2 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Islamabad | Sub Division No-2 | 132KV University (E2Q1) - Murree (ISO-101) along with related earth Switch. | 132KV GSS Murree, Minhasa, Chattar Kalas, DESTO & Sambli Bharmal will be affected. |  | 16-02-2025 & 22-02-2025 |  |  | 09:00 | 16:00 | Annual Maintenance of Transmission Line & Protection Testing of C/Bs | 11KV feeders emantating from (i) DESTO, (ii) Sambli Bharamal , (iii) Murree, (iv) Minhasa & Chattar Kalas will be affected.
[6 empty] | 132KV GSS Murree |  |  |  |  | 09:00 | 16:00
[6 empty] | Pindi Point | 13707 |  | 17.02.2025 20.02.2025 27.02.2025 |  | 09:00 | 16:00 |  | Chita more, Numbal, Sehniw.
[6 empty] | Barriyan | 13706 |  | 17.02.2025 24.02.2025 |  | 09:00 | 16:00 |  | Barrian Camp,
[6 empty] | Public Health | 13709 |  | Nil |  | 09:00 | 16:00 |  | Water supply schemes for Murree.
[6 empty] | Gharial | 13711 |  | 13.02.2025 |  | 09:00 | 16:00 |  | M.I.T, Gharial Camp, Phagwari
[6 empty] | PAF | 13710 |  | 17.02.2025 25.02.2025 |  | 09:00 | 16:00 |  | Pakistan Air Force
[6 empty] | Upper Topa | 13705 |  | 24.02.2025 |  | 09:00 | 16:00 |  | Kashmir Point, Ghora Phapril, Lower Topa
[6 empty] | Lora-1 | 13703 |  | Nil |  | 09:00 | 16:00 |  | Feeding to PESCO area
[6 empty] | Patriata | 13712 |  | 13.02.2025 20.02.2025 27.02.2025 |  | 09:00 | 16:00 |  | Kotli Sattian, Vehgal, Patriata, Ban.
[6 empty] | Company Bagh | 13713 |  | 13.02.2025 24.02.2025 26.02.2025 |  | 09:00 | 16:00 |  | Bansra Gali, Company Bagh Treat
[6 empty] | Cecil Resotor | 13714 |  | 19.02.2025 |  | 09:00 | 16:00 |  | Cecil flats
3 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Islamabad | Sub Division No-2 | 132KV University (E2Q1) - Murree (ISO-101) along with related earth Switch. | Lora-2 | 13715 | 16-02-2025 & 22-02-2025 | Nil |  | 09:00 | 16:00 | Annual Maintenance of Transmission Line & Protection Testing of C/Bs | Feeding to PESCO area
[6 empty] | MCM | 13716 |  | 13.02.2025 |  | 09:00 | 16:00 |  | Militory College Murree
[6 empty] | TDCP | 13717 |  | 17.02.2025 25.02.2025 |  | 09:00 | 16:00 |  | Chairlift
[6 empty] | Kohala | 13701 |  | 20.02.2025 26.02.2025 |  | 09:00 | 16:00 |  | Rawat, Osia, Dewal
[6 empty] | Sunny Bank | 13704 |  | 19.02.2025 |  | 09:00 | 16:00 |  | Cart Road, CMH, Caliden Camp,
[6 empty] | Kuldana | 13702 |  | 18.02.2025 25.02.2025 |  | 09:00 | 16:00 |  | Mall Road, Kashmir Point, Masiary.
[6 empty] | PC Bhurban | 13708 |  | 20.02.2025 26.02.2025 |  | 09:00 | 16:00 |  | PC Bhurban hotel
4 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Islamabad | Sub Division No-2 | 132KV University (E2Q1) - Murree (ISO-101) along with related earth Switch. | 11KV O/G at Minhasa GSS |  | 16-02-2025 & 22-02-2025 |  |  | 09:00 | 16:00 | Annual Maintenance of Transmission Line & Protection Testing of C/Bs
[6 empty] | Dir Kot | 79401 |  | Nil |  | 09:00 | 16:00 |  | DIR KOT AJK
[6 empty] | Chamman Kot | 79402 |  | Nil |  | 09:00 | 16:00 |  | Chaman kot AJK
[6 empty] | Rangla | 79407 |  | Nil |  | 09:00 | 16:00 |  | RANGLA AJK
[6 empty] | Dana Express | 79409 |  | Nil |  | 09:00 | 16:00 |  | Dana Express AJK
[6 empty] | DEHLA | 79411 |  | 19.02.2025 |  | 09:00 | 16:00 |  | DEHLA
[6 empty] | Sohawa / Minhasa | 79406 |  | Nil |  | 09:00 | 16:00 |  | MINHASA SOHAWA AJK
[6 empty] | Numbel | 79405 |  | 18.02.2025 25.02.2025 |  | 09:00 | 16:00 |  | Numble, Turch, Pattan, Molia
5 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Islamabad | Sub Division No-2 | 132KV University (E2Q1) - Murree (ISO-101) along with related earth Switch. | Berote | 79408 | 16-02-2025 & 22-02-2025 | 15.02.2025 18.02.2025 22.02.2025 27.02.2025 |  | 09:00 | 16:00 | Annual Maintenance of Transmission Line & Protection Testing of C/Bs | Berote
[6 empty] | Ghaziabad | 79410 |  | Nil |  | 09:00 | 16:00 |  | Ghazi abad
[6 empty] | 132KV GSS Chattar Kalas |  |  |  |  | 09:00 | 16:00
[6 empty] | Chattar-1 | 132601 |  | Nil |  | 09:00 | 16:00 |  | Chattar-1 AJK
[6 empty] | Chattar-2 | 132602 |  | Nil |  | 09:00 | 16:00 |  | Chattar-2 AJK
[6 empty] | Komi Kot | 132603 |  | Nil |  | 09:00 | 16:00 |  | Komi Kot AJK
[6 empty] | 132KV GSS DESTO |  |  |  |  | 09:00 | 16:00
[6 empty] | DESTO | 106301 |  | Nil |  | 09:00 | 16:00 |  | 132KV GSS DESTO
[6 empty] | 132KV GSS Sambli Bharamal |  |  |  |  | 09:00 | 16:00
[6 empty] | PAECE | 11401 |  | Nil |  | 09:00 | 16:00 |  | PAECE
8 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | AE(T) Margalla | 20/26MVA Power Transformer T-1 at 132 KV GSS Margalla | Following 11kv feedeers will be affected |  | 22-02-2025 |  |  | 09:00 | 16:00 | For replacement of Problematic Panels Make PEL i.e Nawababad & Wahdat Colony
[6 empty] | Nawababad | 83302 |  | 19-02-2025 26-02-2025 |  | 09:00 | 16:00 |  | Nawababad city & surrounding area
[6 empty] | Wahdat Colony | 83301 |  | 15-02-2025 22-02-2025 |  | 09:00 | 16:00 |  | Wahdat Colony, Kohsar Colony, Muslim Colony, Pind Gondal, Thatha Khalil Road
[6 empty] | Kohisar Colony | 083312 |  | 15-02-2025 22-02-2025 |  | 09:00 | 16:00 |  | Kohsar Colony, Pind Gondal & etc
2 | IESCO | Cantt | Tariqabad | Adyala | 132KV Adyala | Defence Road | 109113 | 17.02.2025 22.02.2025 | 11.02.2025 18.02.2025 |  | 09:00 | 14:00 | For removal/ shifting of HT line iro Construction of Fly Over Bridge at Khawaja Corporation Chowk Adyala Road Rawalpindi | Defence Road & sorrounding area
3 | IESCO | Cantt | Tariqabad | Tariqabad | 132KV Adyala | Hamayoun 1 | 109111 |  | 12.02.2025 |  | 09:00 | 14:00 |  | Humayoun Road & sorrounding area
4 | IESCO | Cantt | Tariqabad | Adyala | 132KV Adyala | Rose Lane | 109112 |  | 13.02.2025 20.02.2025 |  | 09:00 | 14:00 |  | Rose Lane & sorrounding area
5 | IESCO | Cantt | Tariqabad |  | 132KV Adyala | Adyala | 109106 |  | 01.02.2025 12.02.2025 26.02.2025 |  | 09:00 | 14:00 |  | Adyala & sorrounding area
6 | IESCO | Cantt | Tariqabad |  | 132KV Adyala | Kalyal | 109101 |  | 04.02.2025 15.02.2025 25.02.2025 |  | 09:00 | 14:00 |  | Kalyal & sorrounding area
7 | IESCO | Cantt | Tariqabad | Tariqabad | 132KV Chaklala | Humayoun Road | 002525 |  | 01.02.2025 08.02.2025 13.02.2025 20.02.2025 26.02.2025 |  | 09:00 | 14:00 |  | Humayoun Road & sorrounding area
8 | IESCO | CHAKWAL | Dhudial | Khan Pur | 132 KV Padshan | Khan Pur | 079107 | 15.02.2025 17.02.2025 22.02.2025 25.02.2025 | 11.02.2025 19.02.2025 |  | 09:00 | 14:00 | Area Planning of 11 KV Mulhal Mughlan Feeder and 11 KV Dhrugi Rjgan Feeder emanating from 132 KV Padshan G.S (2K25-456-ELR-HT-10) | Khan Pur & Surrounding area of Feeder
1 | IESCO | City | Westridge | Seham | KTM | Range Road | 8627 | 15.02.2025 19.02.2025 27.02.2025 | 19/02/2025 27/02/2025 |  | 9:00: am | 12:00 pm | Re-conductoriing of 11-KV Shams Colony Feeders | Mukarram Town, Mohallah Rajputan, Range Road
2 | IESCO | City |  |  |  | Seham | 8618 | [6 empty] | Usmania Colony, Qadria Colony, Farooq Abad
1 | IESCO | City | Westridge | Tarnol | Tarnol | Shalimar City | 106903 | 18.02.2025 20.02.2025 24.02.2025 27.02.2025 | 13-02-2025 |  | 09:00 | 14:00 | Stringing & Erection of HT STR 58 for Faisal Town. | Shalimar Town
2 | IESCO | City | Westridge | Tarnol | Tarnol | Top City | 104905 |  | Nil |  | 09:00 | 14:00 |  | Top City
3 | IESCO | City | Westridge | Tarnol | Tarnol | Mumtaz City | 104906 |  | Nil |  | 09:00 | 14:00 |  | Mumtaz City
4 | IESCO | City | Westridge | Tarnol | Tarnol | F-17/I | 106901 |  | Nil |  | 09:00 | 14:00 |  | F-17 & Surroundings
5 | IESCO | City | Westridge | Tarnol | Tarnol | F-17/II | 106902 |  | Nil |  | 09:00 | 14:00 |  | F-17 & Surroundings
6 | IESCO | City | Westridge | Tarnol | Tarnol | Nogazi | 104901 |  | 12/02/2025 24/02/2025 |  | 09:00 | 14:00 |  | Nogazi Main F/Jang Road & Surrounding area
7 | IESCO | City | Westridge | Tarnol | Tarnol | Fazaiya-I | 104902 |  | Nil |  | 09:00 | 14:00 |  | Fazaiya & surroundings
8 | IESCO | City | Westridge | Tarnol | Tarnol | Fazaiya-II | 104904 |  | Nil |  | 09:00 | 14:00 |  | Fazaiya & surroundings
9 | IESCO | City | Westridge | Tarnol | Tarnol | Bajnial-I | 106903 |  | 2025-02-13 |  | 09:00 | 14:00 |  | Vlg Bajnial & surroundings
10 | IESCO | City | Westridge | Tarnol | Tarnol | Bajnial-II | 104911 |  | 2025-02-13 |  | 09:00 | 14:00 |  | Vlg Bajnial & surroundings
11 | IESCO | City | Westridge | Tarnol | Tarnol | Wapda Cly | Newly energized |  | Nil |  | 09:00 | 14:00 |  | Wapda Cly
12 | IESCO | City | Westridge | Tarnol | Tarnol | Gandhara City | 104913 |  | Nil |  | 09:00 | 14:00 |  | Gandhara City
13 | IESCO | Cantt | Tariqabad | Q.A Colony | 132KV Ranyal | Qureshi-Abad | 120401 | 26.02.2025 | 12.02.2025 19.02.2025 22.02.2025 |  | 09:00 | 14:00 | For HT stringing work iro External Electrification iro Rehbar Colony Housing Scheme Mouza Hayal Ranyal & Hayal Dhamial Chakri Road Rawalpindi | Qureshi-Abad & sorrounding area
14 | IESCO | Cantt | Tariqabad | Q.A Colony | 132KV Ranyal | Girja-1 | 120402 |  | 10.02.2025 17.02.2025 26.02.2025 |  | 09:00 | 14:00 |  | Girja-I & sorrounding area
15 | IESCO | Cantt | Tariqabad | Dhamial | 132KV Ranyal | Ranyal | 120403 |  | 13.02.2025 20.02.2025 |  | 09:00 | 14:00 |  | Ranyal & sorrounding area
16 | IESCO | Cantt | Rawat | Kallar Syedan | 132KV Kallar | Kallar City | 098104 | 18.02.2025 22.02.2025 27.02.2025 | 27.02.2025 |  | 09:00 | 14:00 | For 11KV Kallar Syedan-II feeder | Kallar Syedan & sorrounding area
17 | IESCO | Cantt | Rawat | Kallar Syedan | 132KV Kallar | Doberan | 098106 |  | 11.02.2025 15.02.2025 22.02.2025 |  | 09:00 | 14:00 |  | Doberan & sorrounding area
18 | IESCO | Mirpur | Dhudial City | Dhudial City-I | 132KV Dhudial | City-II | 91102 | 18.02.2025 20.02.2025 23.02.2025 25.02.2025 27.02.2025 |  |  | 08:30 | 17:00 | For strininging between location # 25 to 34 | City-II
19 | IESCO | Mirpur | Dhudial City | Dhudial City-I | 132KV Dhudial | Onnah Town-I | 91108 | 25.02.2025 27.02.2025 |  |  | 08:30 | 17:00 | For strininging between location | Onnah Town-I
1 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | Rahimabad | 002541 | 20.02.2025 | 12.02.2025 26.02.2025 |  | 09:00 | 14:00 | Stringing of HT Line iro bifurcation of 11KV Gulzar-e-Quaid emanating from 132KV Chaklala GSS under ELR Head | Rahimabad & sorrounding area
2 | IESCO | Cantt | Cantt |  |  | SPD-II | 002529 |  | 02.02.2025 |  | 09:00 | 14:00 |  | VVIP & sorrounding area
3 | IESCO | Cantt | Cantt | Chaklala | 132KV Cantt | PAF | 002509 | 27.02.2025 | 08.02.2025 17.02.2025 22.02.2025 27.02.2025 |  | 09:00 | 14:00 |  | PAF & sorrounding area
4 | IESCO | Cantt | Cantt | Jhanda | 132KV Chaklala | VVIP | 002514 |  | Nil |  | 09:00 | 14:00 |  | MES & sorrounding area
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | A.E (T) Sub Division Margalla | 10/13MVA Power Transformer T-1 at 132KV Lakkarmar |  |  | 19-02-2025 To 28-02-2025 (Contineous) |  |  | 19-02-2025 08:00 Hrs | 28-02-2025 16:00 Hrs | For De-Hydration of Power Tranformer | No area will be affected asload of Power Transformer T-1 will be shifted to Power Transformer T-2 through Bus Coupler.
3 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rajjar | AE(T) Chakwal | 20/26MVA Power Transformer T-1 at 132KV GSS C.S Shah | Following 11kv feedeers will be affected |  | 25-02-2025 |  |  | 09:00 Hrs | 16:00 Hrs | Annual Maintenance | Following 11kv feedeers will be affected
[6 empty] | Basharat | 24603 | [6 empty] | Chumbi, Sarainmor, Makhdoomjehnian, Dherijabba, Lehr Sultan Pur, Lehri Shah Nawaz, Wahalizair,
[6 empty] | Katas | 24602 | [6 empty] | C.S.Shah City, Minhala, Ratooch, Pidh, Dandot.
[6 empty] | Dalwal | 24605 | [6 empty] | Katas, Daryalakhoian,Badshahpur.
[6 empty] | Tharpal | 24606 | [6 empty] | Tharpal, Bholay Adyal,Dhok Tahaliayan
1 | IESCO | Jhelum | Jhelum-2 | Dina -I | Dina | M. Riaz Shaheed | 46808 | 22.02.2025 |  |  | 10:00 | 13:00 | Bifurcation of 11KV Co. M. Akram & Dina City feeders | Chamala, etc
2 | IESCO | Jhelum | Jhelum-2 | Dina-II | Dina | Dina-I (Bakrala) | 46801 | [6 empty] | Barkala etc
3 | IESCO | Jhelum | Jhelum-2 | Dina City | Dina | Khokhran | 46811 | [6 empty] | Khokhran etc
4 | IESCO | Jhelum | Jhelum-2 | Dina City | Dina | Dina-4 (City) | 46804 | 26.02.2025 | [5 empty] | Dina City
5 | IESCO | Jhelum | Jhelum-2 | Dina City | Dina | Co.Muhammad Akram | 46806 | [6 empty] | Dina City
6 | IESCO | Jhelum | Jhelum-2 | Dina-II | Dina | Dina-I (Bakrala) | 46801 | [6 empty] | Barkala etc
7 | IESCO | Jhelum | Jhelum-2 | Dina City | Dina | Mumtaz Shaheed | 46809 | [6 empty] | Nia Moh:, etc
1 | IESCO | City | Satellite Town | Gangal | I-8 | KRL | 061113 | 22-02-2025 |  |  | 10:00 | 13:00 | Replacement of HT bare Conductor Dog Insulated Conductor at Ya Rasool Allah Town near Service road | KRL Complex
1 | IESCO | ATTOCK | Taxila | Margalla | 220 KV Sang Jani | MPCHS | 081012 | 22.02.2025 24.02.2025 |  |  | 09:00 Hours | 11:00 Hours | Energization of 11 KV Cabinet Division feeder and Shifting work of NHA near 220 KV Grid Station. | B-17 MPSHS
2 | IESCO | ATTOCK | Taxila | Sang Jani |  | Paswal | 081002 | [6 empty] | Paswal,Pind Noshari,Chokar
3 | IESCO | ATTOCK | Taxila | Sang Jani |  | Shah Allah Ditta | 081011 | [6 empty] | Mohalla Usmania
4 | IESCO | ATTOCK | Taxila | Sang Jani |  | Sang Jani | 081003 | [6 empty] | Tarnol,GT road,Dhoke Abbasi
5 | IESCO | ATTOCK | Taxila | Sang Jani | 132 KV MPCHS | Gulshan-e-Sehat | 121806 | [6 empty] | Gulshan-e-Sehat
6 | IESCO | ATTOCK | Taxila | Sang Jani |  | Sarai Kharbooza | 121802 | [6 empty] | Sarai Kharbooza,Johd,Dhoke Abbasi
7 | IESCO | ATTOCK | Taxila | Sang Jani |  | Pind Parrian | 121801 | [6 empty] | Pind Parrian,Tarnol
1 | IESCO | Cantt | Cantt | Chaklala | 132KV Chaklala | Gracy Line | 002523 | 22.02.2025 24.02.2025 | - |  | 9:30 | 12:30 | For Railway Bridge near Chaklala Scheme-I | Gracy Line & sorrounding area
2 | [5 empty] | Rahimabad | 002541 |  | - |  |  |  |  | Rahimabad & sorrounding area
3 | [5 empty] | SPD-II | 002529 |  | 02.02.2025 |  |  |  |  | VVIP & sorrounding area
4 |  |  |  | Civil Line |  | RIC | 002534 |  | 02.02.2025 |  |  |  |  | RIC & sorrounding area
1 | IESCO | Cantt | Tariqabad | Dhaimial | 132KV Ranyal | Moorat | 120405 | 22.02.2025 | 03.02.2025 10.02.2025 19.02.2025 27.02.2025 |  | 9:00 | 12:00 | For shifting of HT/LT line iro Rawalpindi Ring Road Project | Moorat & Surrounding areas
1 | IESCO | Jhelum | G.Khan | Sohawa | G.Khan | Kulia | 4909 | 22.02.2025 |  |  | 0900 Hrs | 1200 Hrs | Deposit work Metro City GK & Completion of 11KV Samote feeder work | Bhai Khan etc
2 | IESCO | Jhelum | G.Khan | Guliana | G.Khan | Thakra | 4921 | [6 empty] | Cheena etc
3 | IESCO | Jhelum | G.Khan | Guliana | G.Khan | Dora Badhal | 4925 | [6 empty] | Jero Ratial etc
4 | IESCO | Jhelum | Jhelum-I | Cantt | Jhelum | Zubair Shaheed | 7717 |  |  |  | 1000 Hrs | 1300 Hrs | Installation of T/F | Lal zar Colony, etc
5 | IESCO | Jhelum | Jhelum-I | Cantt | Jhelum | F-3 Gul Afshan | 7703 | [6 empty] | Gul Afshanetc
6 | IESCO | Jhelum | Jhelum-I | Urban | Jhelum | F-7 Katchery | 7707 | 23.02.2025 |  |  |  |  | Tree Cutting Inside Katchery / District Bar | Katchery etc
7 | IESCO | Jhelum | Jhelum-I | Urban | Jhelum | Ajmal Shaheed | 7718 | [6 empty] | Bilal Town etc
1 | IESCO | City | Satellite Town | Ch.Chowk | 132 KV Chaklala | BB Shaheed | 2531 | 22-02-2025 24-02-2025 |  |  | 9:30 | 12:30 | Railway Bridge near Chaklala Scheme-I (revised) Safety Hazard Work | BB Shaheed
2 | IESCO | City | Satellite Town | Gangal | 132 KV Chaklala | Khanna road | 2517 |  |  |  | 9:30 | 12:30 |  | Khanna Pull & Surrounding area
3 | IESCO | City | Satellite Town | Gulzar-e-Quaid | 132 KV Chaklala | Gulzar-e-Quaid | 2532 |  |  |  | 9:30 | 12:30 |  | Gulzar-e-Quaid & Surrounding area
4 | IESCO | City | Satellite Town | Gulzar-e-Quaid | 132 KV Chaklala | Air Port | 2526 |  |  |  | 9:30 | 12:30 |  | Air Port
5 | IESCO | City | Satellite Town | Gulzar-e-Quaid | 132 KV Chaklala | Gangal | 2512 |  |  |  | 9:30 | 12:30 |  | Gangal & Surrounding area
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | A.E (T) Sub Division Margalla | 132KV Fateh Jang (FTJ-4) - Basal (BSL-2) T/Line along with related earth switch |  |  | 25-02-2025 To 06-03-2025 (Contineous) |  |  | 25-02-2025 08:00 Hrs | 06-03-2025 18:00 Hrs | For Safety purpose during erection of 132KV Towers | No area will be affected as 132KV GSS Basal will be fed from 132KV GSS Jand side.
1 | IESCO | Islamaabd | Bahra Kahu | Bahra Kahu (R | 220KV GSS University | Shadara | 89213 | 27.02.2025 |  |  | 08:00 | 16:00 | for safety Purpose to carryout Stringing of conductor of 132KV T/Line feed for DESTO due to Construction of Bahara Kahu Over head Road | Shadara
2 | IESCO | Islamaabd | Bahra Kahu | Bahra Kahu (R | 132KV GSS University | Mangtal | 72726 | 25.02.2025 |  |  | 08:00 | 16:00 |  | Mangtal