## mail-approval-shutdown
S # | DISCO | Circle | Division | Sub Division | Name of 132 KV Grid Station | Name of Feeder | Feeder Code | Date | Existing Operation Maintenance Date | Proposed Change Date for Operation Maintenance | Time From | Time To | Purpose of Shut Down | Affected Area | Remarks
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | AE(T) Margalla | 132Kv Fateh Jang (FTJ-1) - Bahtermore (BMW-1) T-off Fauji Cement Plant (ISO-101) along with related earth switch |  |  | 05-02-2025 |  |  | 09:00 Hrs | 12:00 Hrs | For opening the jumpers of Loc No. 95 for erection of towers & stringing of conductor between loc No. 68 to 95 for remodeling of 132KV T/Line New Wah to Fateh Jang to Bahtermore | 132KV Fauji Cement Plant will be affected. However, 132KV GSS Bahtermore will be fed from New Wah side & 132KV GSS Fateh Jang will be fed from Sangjani side.
[5 empty] | 132KV Bahtermore (BMW-1) to Loc No. 95. |  |  | 05-02-2025 to 06-03-2025 (Contineous) |  |  | 05-02-2025 09:00 Hrs | 06-03-2025 16:00 Hrs |  | During the Shut Down 132KV T/Line Bahtermore to Loc No. 95 will remain off & remaining portion from Loc No. 95 to Fateh Jang will be energized.
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | AE(T) Margalla | 132Kv Wah-83 controlling 132/66KV 31.5/140MVA Power Transformer T-3 at 132KV GSS New Wah |  |  | 06-02-2025 to 15.03.2025 (Contineous) |  |  | 06.02.2025 0900Hrs | 15.03.2025 0900Hrs | For dismentling the existing 132KV Transformer Bay & 66KV Line Bay Haripure-Havelian to Spare this line bay for 132KV T/Line New wah to Bahtarmore | No Area will be affected, 66Kv GSS Haripure will be fed from Havelian (PESCO)
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | A.E (T) Sub Division Margalla | 220KV GSS University |  |  | 25-02-2025 To 06-03-2025 (Contineous) |  |  | 25-02-2025 08:00 Hrs | 06-03-2025 18:00 Hrs | For Safety purpose during erection of 132KV Towers | No area will be affected as 132KV GSS Basal will be fed from 132KV GSS Jand side.
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rajjar | A.E (T) Sub Division Chakwal | Chakwal |  |  | 28-02-2025 To 01-03-2025 (Daily Basis) |  |  | 08:00 Hrs | 18:00 Hrs | For Energization of Bus Bar of 132KV GSS Dil Jabba (Khan Pur) | No area will be affected as 132KV GSS C.S Shah will be fed from 132KV GSS Chakwal
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rajjar | A.E (T) Sub Division Mangla | 132KV Dhudial (DDL-3) - Chaksawari (CKS-3) along with related earth switch |  |  | 01.03.2025 03.03.2025 06.03.2025 08.03.2025 & 10.03.2025 |  |  | 06:30 Hrs | 15:00 Hrs | For stringing between loc No. 25 to 30 | No area will be affected as 132KV Islamgarh & Chaksawri will be fed from Mirpur.
2 | IESCO | Mirpur | Dhudial City | Dhudial City-I | 132KV Dhudial | City-II | 91102 | 01.03.2025 03.03.2025 05.03.2025 08.03.2025 10.03.2025 |  |  | 08:30 | 17:00 | For strininging between location # 25 to 30 | City-II
3 | IESCO | Mirpur | Dhudial City | Dhudial City-I | 132KV Dhudial | Onnah Town-I | 91108 | 01.03.2005 '02.03.2025 04.03.2025 06.03.2025 09.03.2025 10.03.2025 |  |  | 08:30 | 17:00 | For strininging between location | Onnah Town-I
4 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rajjar | A.E (T) SS&TL Sub Division Mangla | 132KV Dudyal (DDL-4) - Gulpur (E4Q1) & 132KV Dudyal (DDL-3) - Chakswari (CKS-3) |  |  | 01-03-2025, |  |  | 07:00 Hrs | 18:00 Hrs | For Completion of remaining Tower | No Area will be affected as 132 kv Kotli and Khoi Ratta GSS will be fed from Tararkhal Side or Gulpur side. 132 Kv Islamgarh & Chakswari will be fed from Mirpur side. However, 50 MW load management will be carried out in case of contigency/over loading.
1 | IESCO | IBD | XEN-II | G-11 | G-13 | Mehra Jaffar | 106710 | 03.03.2025 06.03.2025 |  |  | 08.00 AM | 11.00 AM | Shifting of HT/LT line Safety Hazards Works/LV Proposals Islamabad | Mehra Jaffar
2 | IESCO | IBD | XEN-I | Rawal | Zero Point | Iqbal Town | 22314 | 04.03.2025 07.03.2025 | [5 empty] | Sohan & Iqbal Town
3 | IESCO | IBD | XEN-II | G-11 | H-11 | Bala Road | 72723 | 11.03.2025 15.03.2025 | [5 empty] | G-12 Chowk
4 | IESCO | IBD | XEN-I | F-11 | D-12 | Railway Road | 104004 | 17.03.2025 | [5 empty] | Draikh Moori Chowk
5 | IESCO | IBD | XEN-I | Tarlai | Taramri | Sharifabad | 105521 | 18.03.2025 20.03.2025 24.03.2025 | [5 empty] | Sharifabad