## mail-approval-shutdown
S # | DISCO | Circle | Division | Sub Division | Name of 132 KV Grid Station | Name of Feeder | Feeder Code | Date | Existing Operation Maintenance Date | Proposed Change Date for Operation Maintenance | Time From | Time To | Purpose of Shut Down | Affected Area | Remarks
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | AE(T) Margalla | 132Kv Fateh Jang (FTJ-1) - Bahtermore (BMW-1) T-off Fauji Cement Plant (ISO-101) along with related earth switch |  |  | 05-02-2025 |  |  | 09:00 Hrs | 12:00 Hrs | For opening the jumpers of Loc No. 95 for erection of towers & stringing of conductor between loc No. 68 to 95 for remodeling of 132KV T/Line New Wah to Fateh Jang to Bahtermore | 132KV Fauji Cement Plant will be affected. However, 132KV GSS Bahtermore will be fed from New Wah side & 132KV GSS Fateh Jang will be fed from Sangjani side.
[5 empty] | 132KV Bahtermore (BMW-1) to Loc No. 95. |  |  | 05-02-2025 to 06-03-2025 (Contineous) |  |  | 05-02-2025 09:00 Hrs | 06-03-2025 16:00 Hrs |  | During the Shut Down 132KV T/Line Bahtermore to Loc No. 95 will remain off & remaining portion from Loc No. 95 to Fateh Jang will be energized.
12 | IESCO | Cantt | Rawat | RAWAT | 132KV Sowan | Zaraj-I | 87411 | 10.02.2025 18.02.2025 28.02.2025 | 10.02.2025 |  | 09:00 | 14:00 | For reconductoring of Fauji Foundation Feeder & shifting of HT/ LT Lines Deposit Work Potohar Avenue | Zaraj-I & Surrounding area
13 | IESCO | Cantt | Rawat | RAWAT | 132KV Sowan | Zaraj-II | 87423 |  | 10.02.2025 |  | 09:00 | 14:00 |  | Zaraj-II & Surrounding area
14 | IESCO | Cantt | Rawat | RAWAT | 132KV Sowan | Zeta-I | 87424 |  | - |  | 09:00 | 14:00 |  | Zeta Mall & Surrounding area
15 | IESCO | Cantt | Rawat | RAWAT | 132KV Sowan | IST | 87421 |  | - |  | 09:00 | 14:00 |  | IST Universty & Surrounding area
16 | IESCO | Cantt | Rawat | Rawat | 132KV Old Rawat | New Rawat | 17701 |  | 11.02.2025 18.02.2025 |  | 09:00 | 14:00 |  | AOWHS & Surrounding area
17 | IESCO | Cantt | Cantt | Sowan | 132KV Sowan | Mora Nagial | 87422 |  | 04.02.2025 08.02.2025 12.02.2025 18.02.2025 22.02.2025 26.02.2025 |  | 09:00 | 14:00 |  | Mora Nagial & Surrounding area
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | AE(T) Margalla | 132Kv Wah-83 controlling 132/66KV 31.5/140MVA Power Transformer T-3 at 132KV GSS New Wah |  |  | 06-02-2025 to 15.03.2025 (Contineous) |  |  | 06.02.2025 0900Hrs | 15.03.2025 0900Hrs | For dismentling the existing 132KV Transformer Bay & 66KV Line Bay Haripure-Havelian to Spare this line bay for 132KV T/Line New wah to Bahtarmore | No Area will be affected, 66Kv GSS Haripure will be fed from Havelian (PESCO)
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | A.E (T) Sub Division Margalla | Dina |  |  | 19-02-2025 To 28-02-2025 (Contineous) |  |  | 19-02-2025 08:00 Hrs | 28-02-2025 16:00 Hrs | For De-Hydration of Power Tranformer | No area will be affected asload of Power Transformer T-1 will be shifted to Power Transformer T-2 through Bus Coupler.
4 | IESCO | Jhelum | Jhelum-2 | Dina City | Dina | Dina-4 (City) | 46804 | 26.02.2025 | [5 empty] | Dina City
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rawalpindi | A.E (T) Sub Division Margalla | 220KV GSS University |  |  | 25-02-2025 To 06-03-2025 (Contineous) |  |  | 25-02-2025 08:00 Hrs | 06-03-2025 18:00 Hrs | For Safety purpose during erection of 132KV Towers | No area will be affected as 132KV GSS Basal will be fed from 132KV GSS Jand side.
1 | IESCO | GSO Circle IESCO Islamabad | SS&TL Division IESCO Rajjar | A.E (T) Sub Division Chakwal | Chakwal |  |  | 28-02-2025 To 01-03-2025 (Daily Basis) |  |  | 08:00 Hrs | 18:00 Hrs | For Energization of Bus Bar of 132KV GSS Dil Jabba (Khan Pur) | No area will be affected as 132KV GSS C.S Shah will be fed from 132KV GSS Chakwal